**Supplemental Table:** Characteristics of the immunoassays evaluated, as provided by the manufacturers.

|  |  |  |  |
| --- | --- | --- | --- |
| **Assay and manufacturer** | **Analyser used**  **(if any)** | **Viral target and antibody type** | **Manufacturer's thresholds (R)** |
| **Epitope Diagnostics Ltd.**  **SARS-CoV-2 ELISA** | Agility (Dynex) | Nucleocapsid protein, IgG | R=ODsample/1.1x(NC)+0.18) |
| NC=mean of negative control OD |
| R<1 : negative |
| R≥1 : positive |
| **EuroImmun**  **SARS-CoV-2 ELISA** | Manual | Spike protein S1 IgG | ODsample/ODcal |
| R<0.8 : negative |
| 0.8≤R<1.1: equivocal |
| R≥1 : positive |
| **DiaSorin Laison**  **SARS-CoV-2 S1/S2 IgG Immunoassay** | Liaison XL | Spike protein S1/S2 IgG | 3-points calibration curve |
| R<12 AU/mL : negative |
| 12≤ R < 15 AU/mL : equivocal |
| ≥15 : positive |
| **Abbott Diagnostics**  **SARS-CoV-2 Immunoassay** | Alinity | Nucleocapsid protein, IgG | ODsample/ODcal |
| R<1.4 : negative |
| R≥1.4 : positive |
| **Healgen**  **COVID-19 IgG/IgM Rapid Test** | Cassette provided | IgG/IgM - specificity of antigen not given | IgG band present = G positive |
| IgM band present = M positive |