**Title: Tracking the temporal variation of COVID-19 surges through wastewater-based epidemiology during the peak of the pandemic: a six-month long study in Charlotte, North Carolina**

Authors: Visva Bharati Baruaa\*, Md Ariful Islam Juela\*, A. Denene Blackwoodb, Thomas Clerkinb, Mark Ciesielskib, Adeola Julian Sorinolua, David A. Holcombc, Isaiah Younga, Gina Kimbled, Shannon Sypoltd, Lawrence S. Engelc, Rachel T. Nobleb, Mariya Munira

aDepartment of Civil and Environmental Engineering, University of North Carolina Charlotte, 9201 University City Boulevard, Charlotte, NC 28223, USA

bInstitute of Marine Sciences, The University of North Carolina at Chapel Hill, Morehead City, NC 28557, USA

cDepartment of Epidemiology, Gillings School of Global Public Health, The University of North Carolina at Chapel Hill, Chapel Hill, NC 27599, USA

dCharlotte Water, 5100 Brookshire Blvd., Charlotte, NC 28216, USA

Corresponding author: mmunir@uncc.edu (Mariya Munir)

\* These authors contributed equally

**Supplementary file**

**(a)**

****

**(b)**

****

**Fig. S1.** Standard curve for (a) N1 and (b) N2 assay using workflow 1.

**Table S1.** Primers and probe sequences utilized in this WBE study.

|  |  |  |  |
| --- | --- | --- | --- |
| **Assay** | **Primer/Probe** | **Sequences** | **Reference** |
| **CDC N1** | Forward Reverse Probe | GACCCCAAAATCAGCGAAAT TCTGGTTACTGCCAGTTGAATCTG FAM-ACCCCGCATTACGTTTGGTGGACC-BHQ1 | 1CDC (2020) |
| **CDC N2** | Forward Reverse Probe | TTACAAACATTGGCCGCAAA GCGCGACATTCCGAAGAA FAM-ACAATTTGCCCCCAGCGCTTCAG-BHQ1 | 1CDC (2020) |
| **BCoV** | Forward ReverseProbe | CTGGAAGTTGGTGGAGTTATTATCGGCCTAACATACATCFAM-CCTTCATATCTATACACATCAAGTTGTT-BHQ1 | 2Decaro et al., 2008 |
| **Hep G** | Forward ReverseProbe | CGG CCA AAA GGT GGT GGA TG CGA CGA GCC TGA CGT CGG G HEX-AGG TCC CTC TGG CGC TTG TGG CGA G-BHQ1  | 3Schlueter et al., 1996 |

**Table S2.** Average recovery efficiency of BCoV and HepG for workflow 1

|  |  |  |
| --- | --- | --- |
|  | **Workflow 1** |  |
| **Plant** | **BCoV recovery (%)** | **Hep G recovery (%)** |
| **A** | 21.5±15 |  41.31±18.1 |
| **B** | 22±23 | 43.4±21 |
| **C** | 20.2±24 |  38±22.7 |
| **D** | 30.9±29 | 44±17.4 |

**Table S3.** Average recovery efficiency of BCoV and HepG for workflow 2

|  |  |  |
| --- | --- | --- |
|  | **Workflow 2** |  |
| **Plant** | **BCoV recovery (%)** | **Hep G recovery (%)** |
| **A** | 24.76±20 | 26.22±15.5 |
| **B** | 22.3±17 | 17.3±11.5 |
| **C** | 23.3±18 | 24±13.6 |
| **D** | 26±25 | 29.8±19.6 |

**Table S4.** Inhibition control data for N1 gene for workflow 1 (RT-qPCR)

|  |  |  |  |
| --- | --- | --- | --- |
| **Date** | **Plant** | **Undiluted** | **Diluted (1:5)** |
|  |  | **Cq**  | **Cq**  |   |
|   |   | **Rep#1** | **Rep#2** | **Rep#3** | **Avg. Cq** | **Rep#1** | **Rep#2** | **Rep#3** | **Avg. Cq** |   |
| 11/23/2020 | A | 33.67 | 31.89 | 32.34 | 32.63 | 35.54 | ND | 36.29 | 35.9 |
| B | 34.24 | 33.37 | 33.92 | 33.77 | ND | ND | ND | NA |
| C | 34.7 | 32.96 | 34.94 | 34.20 | ND | ND | ND | NA |
| 11/25/2020 | A | 33.24 | 33.27 | 33.33 | 33.28 | ND | ND | ND | NA |
| B | 36.07 | 33.31 | 33.92 | 34.43 | ND | ND | ND | NA |
| C | 32.00 | 32.54 | 32.01 | 32.18 | 36.85 | ND | ND | NA |
| D | ND | ND | ND | NA | ND | ND | ND | NA |
| 11/30/2020 | A | 32.9 | 32.92 | 32.19 | 32.67 | 36.00 | ND | ND | NA |
| B | 31.87 | 33.3 | 33.07 | 32.74 | ND | ND | 35.44 | 35.44 |
| C | 32.33 | 32.1 | 32.24 | 32.22 | 36.24 | ND | ND | 36.24 |
|   |   |   |   |   |   |   |   |   |   |
| **Date** | **Plant** | **Undiluted** | **Diluted (1:3)** |   |
|  |  | **Cq** | **Cq**  |   |
|   |   | **Rep#1** | **Rep#2** | **Rep#3** | **Avg. Cq** | **Rep#1** | **Rep#2** | **Rep#3** | **Avg. Cq** |   |
| 7/1/2020 | A | 33.93 | 32.92 | - | 33.42 | 33.87 | 35.55 | 35.87 | 35.10 |   |
| B | ND | ND | - | NA | ND | ND | ND | NA |   |
| C | 34.17 | 35.16 | - | 34.66 | 34.41 | 36.47 | ND | 35.44 |   |
| D | 34.61 | 32.52 | - | 33.57 | 33.19 | ND | 34.74 | 33.97 |   |
| 7/8/2020 | B | 37.81 | 35.45 | - | 36.63 | 37.80 | ND | ND | 37.63 |   |
| C | 36.22 | 34.36 | - | 35.29 | ND | 35.97 | ND | 35.97 |   |
| D | ND | ND | - | NA | ND | ND | ND | NA |   |
| 7/22/2020 | A | 33.07 | 32.10 | - | 32.59 | ND | 33.01 | 34.02 | 34.81 |   |
| B | 36.83 | 36.12 | - | 36.47 | ND | ND | ND | NA |   |
| C | 37.21 | 32.47 | - | 34.84 | ND | 35.28 | ND | 35.28 |   |
| D | 37.05 | 34.71 | - | 35.88 | ND | ND | ND | NA |   |
| 7/29/2020 | A | ND | ND | - | NA | ND | ND | ND | NA |   |
| B | 33.73 | ND | - | NA | ND | ND | ND | NA |   |
| C | 35.12 | 33.69 | - | 34.41 | 35.96 | ND | ND | 35.96 |   |
| D | ND | ND | - | NA | 35.36 | 35.29 | 33.94 | 34.86 |   |

 **Table S5.** Inhibition control data for N2 gene for workflow 2 (ddPCR)

|  |  |  |  |
| --- | --- | --- | --- |
| **Date** | **Plant** | **Undiluted** | **Diluted (1:3)** |
|  |  | **Cq**  | **Cq**  |
|  |  | **Rep#1** | **Rep#2** | **Rep#3** | **Avg. Cq** | **Rep#1** | **Rep#2** | **Rep#3** | **Avg. Cq** |
| 7/1/2020 | A | 35.23 | 34.22 | 37.43 | 35.63 | 35.29 | 34.76 | ND | 35.03 |
| B | ND | ND | ND | NA | ND | ND | ND | NA |
| C | ND | 37.15 | 36.06 | 36 | 34.61 | ND | 37.33 | 35.97 |
| D | ND | 41.17 | 39.34 | 40.25 | 35.53 | ND | 33.85 | 34.69 |
| 7/8/2020 | B | ND | ND | ND | NA | ND | ND | ND | NA |
| C | ND | ND | 35.39 | 35.39 | ND | ND | ND | NA |
| D | ND | ND | ND | NA | ND | ND | ND | NA |
| 7/22/2020 | A | 33.60 | 33.79 | 34.33 | 35.91 | ND | 35.94 | ND | 35.94 |
| B | ND | ND | ND | NA | ND | ND | ND | NA |
| C | 33.97 | 36.93 | 34.29 | 35.06 | ND | 35.94 | ND | 35.94 |
| D | ND | ND | ND | NA | ND | 36.74 | ND | 36.74 |
| 7/29/2020 | A | 36.75 | ND | ND | 36.75 | ND | ND | ND | NA |
| B | ND | ND | ND | NA | ND | ND | 39.80 | 39.80 |
| C | 36.46 | 34.16 | 36.52 | 35.71 | ND | ND | 36.43 | 36.43 |
| D | ND | ND | ND | NA | 37.93 | ND | ND | NA |
|   |   |   |   |
| **Date** | **Plant** | **Undiluted** | **Diluted (1:2)** |
|  |  | **Cq** | **Avg. Cq** | **Cq** | **Avg. Cq** |
| 7/15/2020 | A | ND | ND | ND | NA | ND | ND | ND | NA |
| C | ND | ND | ND | NA | ND | ND | ND | NA |
| 8/19/2020 | C | ND | ND | ND | NA | ND | ND | ND | NA |
| D | ND | ND | ND | NA | ND | ND | ND | NA |
| 8/26/2020 | A | ND | ND | ND | NA | ND | ND | ND | NA |
| B | ND | ND | ND | NA | ND | ND | ND | NA |
| C | ND | ND | ND | NA | ND | ND | ND | NA |
| 9/23/2020 | A | ND | ND | ND | NA | ND | ND | ND | NA |
| B | ND | ND | ND | NA | ND | ND | ND | NA |
| C | ND | ND | ND | NA | ND | ND | ND | NA |
| D | ND | ND | ND | NA | ND | ND | ND | NA |
| 9/30/2020 | C | ND | ND | ND | NA | ND | ND | ND | NA |
| 10/7/2020 | A | ND | ND | ND | NA | ND | ND | ND | NA |
| B | ND | ND | ND | NA | ND | ND | ND | NA |
| C | ND | ND | ND | NA | ND | ND | ND | NA |
| D | ND | ND | ND | NA | ND | ND | ND | NA |
| 11/23/2020 | A | ND | ND | ND | NA | 33.22 | 33.65 | ND | 33.44 |
| B | ND | ND | ND | NA | 35.55 | 34.52 | 34.04 | 34.70 |
| C | ND | ND | ND | NA | 33.51 | 33.41 | ND | 33.46 |
| 11/25/2020 | A | ND | ND | ND | NA | 34.26 | 33.78 | 33.9 | 33.98 |
| B | ND | ND | ND | NA | ND | 35.16 | 35.67 | 35.42 |
| C | ND | ND | ND | NA | 33.69 | 34.13 | 33.38 | 33.73 |
| D | ND | ND | ND | NA | ND | ND | ND | NA |
| 11/30/2020 | A | ND | ND | ND | NA | ND | 33.66 | 33.5 | 33.58 |
| B | ND | ND | ND | NA | 33.78 | 33.74 | ND | 33.76 |
| C | ND | ND | ND | NA | ND | 33.16 | 33.97 | 33.57 |
| 12/2/2020 | A | ND | ND | ND | NA | 31.37 | 31.21 | 32.03 | 31.54 |
| B | ND | ND | ND | NA | 32.93 | 33.51 | 33.01 | 33.15 |
| C | ND | ND | ND | NA | 33.64 | 33.1 | ND | 33.37 |
| D | ND | ND | ND | NA | ND | ND | ND | NA |
| 12/7/2020 | A | ND | ND | ND | NA | 32.69 | 33.15 | 32.96 | 32.93 |
| B | ND | ND | ND | NA | 34.18 | 33.82 | ND | 34 |
| C | ND | ND | ND | NA | ND | 33.18 | 35.03 | 34.12 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ND- Not detected; NA- Not applicable

**Table S6.** Inhibiton control data for workflow 2 (ddPCR)

|  |  |
| --- | --- |
| **Date** | **Inhibition efficiency (%)** |
| **Plant A** | **Plant B** | **Plant C** | **Plant D** |
| 6/24/2020 | 101 | 101 | 100 | - |
| 7/1/2020 | 101 | 101 | 104 | 99 |
| 7/8/2020 | 96 | 104 | 98 | 101 |
| 7/15/2020 | 102 | 98 | 100 | 97 |
| 7/22/2020 | 99 | 98 | 103 | 99 |
| 7/29/2020 | 98 | 99 | 97 | 98 |
| 8/5/2020 | 94 | 98 | NT | 98 |
| 8/12/2020 | 100 | 98 | 100 | 97 |
| 8/19/2020 | 101 | 98 | 97 | 102 |
| 8/26/2020 | 97 | 100 | 99 | 97 |
| 9/2/2020 | 97 | 96 | 99 | 94 |
| 9/9/2020 | 95 | 92 | - | 98 |
| 9/15/2020 | -  | 98 | 89 | - |
| 9/30/2020 | 98 | 97 | 94 | 91 |
| 10/7/2020 | 96 | 90 | 94 | 95 |
| 10/14/2020 | 98 | 95 | 94 | 97 |
| 10/28/2020 | 96 | 95 | 101 | 93 |
| 11/2/2020 | 98 | 105 | 100 | - |
| 11/4/2020 | 96 | 93 | - | - |
| 11/11/2020 | 93 | 94 | 101 | 96 |
| 11/16/2020 | 93 | 100 | 94 | - |
| 11/18/2020 | 95 | 93 | 97 | - |
| 11/23/2020 | 97 | 97 | 96 | - |
| 11/25/2020 | 94 | 93 | 94 | 96 |
| 11/30/2020 | 96 | 101 | 97 | - |
| 12/7/2020 | 101 | 96 | 94 | - |
| 12/9/2020 | 90 | 95 | 95 | 91 |
| 12/14/2020 | - | 95 | 91 | - |

**Table S7a.** Detailed reagents and methods utilized in workflow 2

 **Kingfisher Magnetic bead extraction**

|  |  |  |  |
| --- | --- | --- | --- |
| **Quantity** | **Description** | **Vendor** | **Catalog Number** |
| 1 | Tip comb | Fisher Sci. | 22-387-029 |
| 7 | 96 well, DWP | Fisher Sci. | 22-387-031 |
| 800 µL | Wash Buffer 1 | Biomerieux | 280130 |
| 1000 µL | Wash Buffer 2 | Biomerieux | 280131 |
| 500 µL | Wash Buffer 3 | Biomerieux | 280132 |
| 50 µL | Magnetic silica | Biomerieux | 280134 |
| 100 µL | Buffer AE | Life Technologies | 19077 |

**Extraction protocol for workflow 2**

 ***Lysate Plate***

* Dispense up to 950 µL of supernatant of lysed sample into a 96 Deep Well plate containing 50 mL of magnetic beads.
* Incubate 96 well Deep Well plate containing sample and Magnetic Beads for 10 minutes at room temperature.
* While incubating, set up other plates.

***Wash 1 Plate***

* Dispense 400 μL of Wash Buffer 1 into each well

***Wash 2 Plate***

* Dispense 400 μL of Wash Buffer 1 into each well

***Wash 3 Plate***

* Dispense 500 μL of Wash Buffer 2 into each well

***Wash 4 Plate***

* Dispense 500 μL of Wash Buffer 2 into each well

***Wash 5 Plate***

* Dispense 500 μL of Wash Buffer 3 into each well

***Eluate Plate***

* Dispense 100 μL of AE Elution Buffer into each well

***Tip Comb Plate***

* Place 96 DW tip comb into plate

After 10-minutes of incubation, plates were added to the Kingfisher Instrument as the program directed.

**Table S7b.** Sample preparation for Reverse Transcription

|  |  |  |  |
| --- | --- | --- | --- |
| **Quantity** | **Description** | **Vendor** | **Catalog Number** |
| 50 µL | Superscript VILO IV MM | Fisher Sci. | 11756050 |
| 1 | Foil seal | BioRad | 1814040 |
| 1 | 96 well PCR plate | BioRad | 12001925 |
| 1µL | Mouse Lung RNA |  BioChain | R1334152-50 |

|  |  |
| --- | --- |
| **RT MasterMIX** | **µL** |
| Volume per rxn  | 70 |
| Superscript IV VILO 5X | 14 |
| RNA template | 35 |
| Mouse Lung RNA  | 1 |
| Water | 20 |

**References**

(1) CDC, (2020). **(https://www.cdc.gov/healthywater/surveillance/wastewater-surveillance/testing-methods.html)**

(2) Decaro, N.; Elia, G.; Campolo, M.; Desario, C.; Mari, V.; Radogna, A.; Colaianni, M. L.; Cirone, F.; Tempesta, M.; Buonavoglia, C. Detection of Bovine Coronavirus Using a TaqMan-Based Real-Time RT-PCR Assay. *J. Virol. Methods* 2008, *151* (2), 167–171. https://doi.org/10.1016/j.jviromet.2008.05.016.

(3) Schlueter, V.; Schmolke, S.; Stark, K.; Hess, G.; Ofenloch-Haehnle, B.; Engel, A. M. Reverse Transcription-PCR Detection of Hepatitis G Virus. *J. Clin. Microbiol.* 1996, *34* (11), 2660–2664. https://doi.org/10.1128/jcm.34.11.2660-2664.1996.