**High-throughput detection of neutralizing antibodies to SARS-CoV-2 variants using flow cytometry**

Xiaohan Zhang1,2\*, Yajie Wang3\*, Mansheng Li1\*, Haolong Li4\*, Xiaomei Zhang1, Xingming Xu1, Di Hu5, Te Liang1, Yunping Zhu1, Yongzhe Li4#, Bingwei Wang2# and Xiaobo Yu1,6#

**Affiliations**

1State Key Laboratory of Medical Proteomics, Beijing Proteome Research Center, National Center for Protein Sciences-Beijing (PHOENIX Center), Beijing Institute of Lifeomics, Beijing, 102206, China.

2School of Medicine, Nanjing University of Chinese Medicine, Nanjing 210023, China.

3Department of Clinical Laboratory, Beijing Ditan Hospital, Capital Medical University, Beijing 100015, China.

4Department of Clinical Laboratory, Peking Union Medical College Hospital, Chinese Academy of Medical Science & Peking Union Medical College, Beijing 100730, China.

5ProteomicsEra Medical Co., Ltd., Beijing, 102206, China

6The First Affiliated Hospital of Wenzhou Medical University, Wenzhou, China.

\*These authors contributed equally to this work.

#Correspondence to xiaobo.yu@hotmail.com (X.Y.), bingweiwang@njucm.edu.cn (B.W.) and yongzhelipumch@126.com (Y. L).

**Supplementary Figures**



**Figure S1. Spike trimer-ACE2 interactions across six SARS-CoV-2 VOCs and ACE2 concentrations on different platforms.** (A) Dose relationship curve of the interactions between ACE2 and six SARS-CoV-2 VOCs on Luminex platform. (B) Dose relationship curve of the interactions between ACE2 and six SARS-CoV-2 VOCs on Wellgrow platform. The x-axis represents the concentrations of the host ACE2 receptor. The y-axis represents the median of fluorescent signal intensity (MFI) of the SARS-CoV-2 Spike trimer-ACE2 interaction. N = nucleocapsid protein, which was used as a negative control. (C) Dose relationship curve demonstrating the ability of the antibody #26 to inhibit SARS-CoV-2 variant Spike trimer-ACE2 interactions using Wellgrow and Luminex platforms. The x-axis represents the concentrations of the antibody #26. The y-axis represents the inhibition rate (%) of the antibody #26. (D) Correlation analysis of antibody 26# neutralization titers (IC50) using Wellgrow and Luminex platforms.



**Figure S2. The binding ability of ACE2 to SARS-CoV-2 variant, SARS-CoV and MERS Spike proteins.** (A) The binding signal of ACE2 to six SARS-CoV-2 variants, SARS-CoV and MERS Spike proteins and the negative control, N protein. (B) The signal to noise ratio (SNR) of six SARS-CoV-2 variant, SARS-CoV and MERS Spike proteins, and the negative control N protein as cut off value.



**Figure S3. Differability in serum NAb levels** **in the vaccination group and un-vaccination group.** (A) Inhibition rate(%) of serum NAbs in 11 SARS-CoV-2 variants in the vaccination group and un-vaccination group. Un-vaccination group’s sera were obtained from individuals before vaccination (n=147), and vaccination group’s sera were collected after three doses of vaccination (n=56). When the inhibition rate value is negative, it automatically defaults to zero. The serum NAb levels are significantly higher in the vaccination group than un-vaccination group as determined using an unpaired t test with a p-value ≤ 0.0001. \*\*\*\*, p < 0.0001.



**Figure S4.** **Correlation between the inhibition rate (%) of NAbs against the D614G variant and the NAb titers to the D614G variant.** (A) Correlation analysis of the inhibition rate (%) of NAbs obtained by SARS-CoV-2 bNAb assay and the NAb titers obtained by pseudovirus-based neutralization assay in the serum of 135 individuals with second dose vaccination.

**Supplementary Tables**

**Table S1. List of SARS-CoV-2 variant trimer Spike proteins and N protein.**

|  |  |  |  |
| --- | --- | --- | --- |
| **WHO label** | **Product Name** | **Company** | **Catalog No.** |
| D614G | SARS-CoV-2 Spike S1+S2 (D614G) trimer Protein (ECD, His tag) | Sino Biological, Inc. | 40589-V08H8 |
| Alpha | SARS-CoV-2 B.1.1.7 Spike S1+S2 trimer Protein (ECD, His tag) | Sino Biological, Inc. | 40589-V08H12 |
| Beta  | SARS-CoV-2 B.1.351 Spike S1+S2 trimer Protein (ECD, His tag) | Sino Biological, Inc. | 40589-V08H13 |
| Delta | SARS-CoV-2 B.1.617.2 Spike S1+S2 trimer Protein (ECD, His tag) | Sino Biological, Inc. | 40589-V08H10 |
| Kappa | SARS-CoV-2 B.1.617.1 Spike S1+S2 trimer Protein (ECD, His tag) | Sino Biological, Inc. | 40589-V08H11 |
| Gamma | Recombinant SARS-CoV-2 S-trimer Protein (P.1, C-6His) | Novoprotein | DRA157 |
| Omicron BA.1 | SARS-CoV-2 B.1.1.529 (Omicron) S1+S2 trimer Protein ( ECD, His Tag) | Sino Biological, Inc. | 40589-V08H26 |
| OmicronBA.2 | SARS-CoV-2 (BA.2) Spike S1+S2 trimer Protein (ECD, His Tag) | Sino Biological, Inc. | 40589-V08H28 |
| OmicronBA.3 | SARS-CoV-2 Spike Trimer, His Tag (BA.3/Omicron) | ACROBiosystems | SPN-C5225 |
| OmicronBA.4 | SARS-CoV-2 Spike Trimer, His Tag (BA.4/Omicron) | ACROBiosystems | SPN-C5229 |
| OmicronBA.5 | SARS-CoV-2 Spike Trimer, His Tag (BA.5/Omicron)  | ACROBiosystems | SPN-C522e |
| N protein | SARS-CoV-2 (2019-nCoV) Nucleocapsid-His recombinant Protein | Sino Biological, Inc. | 40588-V08B |

**Table S2. List of EasyMagPlex Magnetic-Fluorescent Beads.**

|  |  |  |  |
| --- | --- | --- | --- |
| **Beads Code** | **Product Name** | **Company** | **Catalog No.** |
| 102 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020102 |
| 103 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020103 |
| 104 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020104 |
| 105 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020105 |
| 106 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020106 |
| 107 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020107 |
| 108 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020108 |
| 201 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020201 |
| 202 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020202 |
| 203 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020203 |
| 204 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020204 |
| 205 | EasyMagPlex Magnetic-Fluorescent Beads | Wellgrow Technology | CM020205 |

**Table S3. List of the coupled proteins and corresponding beads codes that were used to detect Spike-ACE2 interactions and serum NAbs.**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Protein** | D614G | Alpha | Beta | Gamma | Delta | Kappa |
| **Beads Code** | 102 | 204 | 103 | 104 | 105 | 106 |
| **Protein** | Omicron BA.1 | Omicron BA.2 | Omicron BA.3 | Omicron BA.4 | Omicron BA.5 | N protein |
| **Beads Code** | 107 | 108 | 202 | 203 | 205 | 201 |

**Table S4. List of the coupled proteins and corresponding beads codes that were used to detect monoclonal/polyclonal NAbs.**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Protein** | D614G | Alpha | Beta | Delta | Kappa | Omicron BA.1 | N |
| **Beads Code** | 102 | 204 | 103 | 105 | 106 | 107 | 201 |

**Table S5. List of SARS-CoV-2 S protein RBD antibodies.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **ID** | **Company** | **Catalog No.** | **Antigen** | **MAb/PAb\*** |
| #20 | Sino Biological, Inc. | 40150-D001 | SARS-CoV S protein RBD | MAb |
| #21 | Sino Biological, Inc. | 40150-D002 | SARS-CoV S protein RBD | MAb |
| #22 | Sino Biological, Inc. | 40150-D003 | SARS-CoV S protein RBD | MAb |
| #23 | Sino Biological, Inc. | 40150-D004 | SARS-CoV S protein RBD | MAb |
| #26 | Sino Biological, Inc. | 40592-T62 | SARS-CoV S protein RBD | PAb |
| #73 | Bioworld Technology, Co. | HMB002 | SARS-CoV S protein RBD | MAb |

**Table S6. List of the signal to noise ratio (SNR) of different concentrations of ACE2 detection using Luminex and Wellgrow platforms.**

|  |  |
| --- | --- |
|  | **SNR** |
|  | **D614G** | **Alpha** | **Beta**  | **Delta** | **Kappa** | **Omicorn BA.1** | **N protein** |
| **ACE2****(μg/mL)** | **W\*** | **L\*** | **W** | **L** | **W** | **L** | **W** | **L** | **W** | **L** | **W** | **L** | **W** | **L** |
| **10.000**  | 1475.51  | 107.12  | 1896.44  | 144.22  | 1915.00  | 140.57  | 1756.90  | 128.65  | 1058.54  | 109.00  | 1269.25  | 97.82  | 32.91  | 1.63  |
| **3.333**  | 1375.75  | 45.95  | 1783.64  | 71.70  | 1830.20  | 74.65  | 1695.82  | 62.68  | 975.26  | 53.10  | 1192.15  | 57.54  | 14.83  | 1.44  |
| **1.111**  | 1048.04  | 14.47  | 1471.18  | 25.76  | 1583.45  | 28.19  | 1427.86  | 22.02  | 824.66  | 21.28  | 1015.33  | 25.32  | 5.97  | 1.11  |
| **0.370**  | 561.60  | 4.23  | 947.25  | 7.16  | 1111.94  | 7.69  | 940.63  | 5.94  | 533.31  | 6.05  | 774.11  | 7.19  | 2.84  | 1.20  |
| **0.123**  | 202.57  | 1.77  | 420.46  | 2.49  | 547.71  | 2.68  | 416.90  | 2.34  | 230.55  | 2.18  | 415.74  | 2.57  | 1.61  | 1.06  |
| **0.041**  | 56.88  | 1.21  | 132.79  | 1.41  | 184.33  | 1.31  | 132.80  | 1.34  | 71.03  | 1.23  | 151.67  | 1.37  | 1.19  | 1.10  |
| **0.014**  | 16.02  | 0.98  | 35.91  | 1.17  | 54.05  | 1.07  | 37.98  | 1.03  | 21.42  | 1.10  | 45.10  | 1.07  | 1.06  | 1.03  |
| **Mean** | 676.62  | 25.10  | 955.38  | 36.27  | 1032.38  | 36.60  | 915.56  | 32.00  | 530.68  | 27.70  | 694.76  | 27.55  | 8.63  | 1.22  |
| **Fold Change****(W/L)** | 26.95  | 26.34  | 28.21  | 28.61  | 19.16  | 25.21  | 7.05  |
| **Mean of** **Fold Change** | 23.08  |
| \*W and L are abbreviations for Wellgrow and Luminex, respectively |

**Table S7. The raw data of pseudovirus-based neutralizing assay.**

|  |  |  |  |
| --- | --- | --- | --- |
| **Samplenumber** | **Pseudovirus-based neutralization assay**NAb titers to the D614G variant | **Pseudovirus-based neutralization assay** log2(NAb titers to the D614G variant) | **SARS-CoV-2 bNAb assay**Inhibition rate(%) of NAbs against the D614G variant |
| 1 | 37 | 5.209453366 | 63.59% |
| 2 | 72 | 6.169925001 | 69.70% |
| 3 | 495 | 8.951284715 | 73.90% |
| 4 | 60 | 5.906890596 | 40.81% |
| 5 | 52 | 5.700439718 | 28.71% |
| 6 | 46 | 5.523561956 | 44.36% |
| 7 | 11 | 3.459431619 | 21.00% |
| 8 | 184 | 7.523561956 | 52.31% |
| 9 | 74 | 6.209453366 | 54.21% |
| 10 | 22 | 4.459431619 | 33.64% |
| 11 | 204 | 7.672425342 | 71.48% |
| 12 | 108 | 6.754887502 | 62.14% |
| 13 | 59 | 5.882643049 | 41.61% |
| 14 | 23 | 4.523561956 | 40.39% |
| 15 | 62 | 5.95419631 | 79.37% |
| 16 | 33 | 5.044394119 | 29.95% |
| 17 | 104 | 6.700439718 | 28.52% |
| 18 | 103 | 6.686500527 | 41.47% |
| 19 | 15 | 3.906890596 | 36.37% |
| 20 | 37 | 5.209453366 | 40.64% |
| 21 | 22 | 4.459431619 | 45.70% |
| 22 | 41 | 5.357552005 | 42.98% |
| 23 | 19 | 4.247927513 | 38.89% |
| 24 | 18 | 4.169925001 | 40.48% |
| 25 | 18 | 4.169925001 | 46.39% |
| 26 | 11 | 3.459431619 | 10.01% |
| 27 | 26 | 4.700439718 | 32.98% |
| 28 | 14 | 3.807354922 | 28.40% |
| 29 | 41 | 5.357552005 | 26.24% |
| 30 | 42 | 5.392317423 | 21.75% |
| 31 | 816 | 9.672425342 | 93.47% |
| 32 | 24 | 4.584962501 | 42.82% |
| 33 | 13 | 3.700439718 | 32.28% |
| 34 | 184 | 7.523561956 | 46.35% |
| 35 | 15 | 3.906890596 | 32.00% |
| 36 | 47 | 5.554588852 | 32.35% |
| 37 | 24 | 4.584962501 | 39.46% |
| 38 | 12 | 3.584962501 | 18.74% |
| 39 | 26 | 4.700439718 | 32.01% |
| 40 | 98 | 6.614709844 | 61.25% |
| 41 | 28 | 4.807354922 | 35.50% |
| 42 | 65 | 6.022367813 | 29.87% |
| 43 | 16 | 4 | 36.93% |
| 44 | 16 | 4 | 53.37% |
| 45 | 43 | 5.426264755 | 31.47% |
| 46 | 187 | 7.54689446 | 83.13% |
| 47 | 112 | 6.807354922 | 94.55% |
| 48 | 38 | 5.247927513 | 39.77% |
| 49 | 31 | 4.95419631 | 53.72% |
| 50 | 50 | 5.64385619 | 39.84% |
| 51 | 251 | 7.971543554 | 92.07% |
| 52 | 219 | 7.77478706 | 75.35% |
| 53 | 62 | 5.95419631 | 24.68% |
| 54 | 31 | 4.95419631 | 40.65% |
| 55 | 68 | 6.087462841 | 31.18% |
| 56 | 19 | 4.247927513 | 37.75% |
| 57 | 108 | 6.754887502 | 68.43% |
| 58 | 37 | 5.209453366 | 44.12% |
| 59 | 64 | 6 | 49.85% |
| 60 | 187 | 7.54689446 | 60.78% |
| 61 | 69 | 6.108524457 | 58.99% |
| 62 | 116 | 6.857980995 | 30.25% |
| 63 | 12 | 3.584962501 | 23.35% |
| 64 | 185 | 7.531381461 | 51.38% |
| 65 | 32 | 5 | 24.74% |
| 66 | 22 | 4.459431619 | 65.38% |
| 67 | 102 | 6.672425342 | 50.85% |
| 68 | 19 | 4.247927513 | 33.29% |
| 69 | 12 | 3.584962501 | 32.35% |
| 70 | 11 | 3.459431619 | 18.44% |
| 71 | 14 | 3.807354922 | 18.59% |
| 72 | 47 | 5.554588852 | 52.95% |
| 73 | 20 | 4.321928095 | 38.29% |
| 74 | 15 | 3.906890596 | 38.25% |
| 75 | 21 | 4.392317423 | 57.12% |
| 76 | 39 | 5.285402219 | 61.49% |
| 77 | 31 | 4.95419631 | 60.75% |
| 78 | 14 | 3.807354922 | 29.37% |
| 79 | 77 | 6.266786541 | 64.47% |
| 80 | 50 | 5.64385619 | 78.23% |
| 81 | 19 | 4.247927513 | 46.02% |
| 82 | 17 | 4.087462841 | 45.87% |
| 83 | 211 | 7.721099189 | 54.25% |
| 84 | 15 | 3.906890596 | 29.46% |
| 85 | 183 | 7.515699838 | 73.49% |
| 86 | 30 | 4.906890596 | 49.38% |
| 87 | 55 | 5.781359714 | 49.68% |
| 88 | 68 | 6.087462841 | 45.44% |
| 89 | 122 | 6.930737338 | 13.44% |
| 90 | 38 | 5.247927513 | 30.65% |
| 91 | 12 | 3.584962501 | 28.41% |
| 92 | 233 | 7.864186145 | 69.31% |
| 93 | 112 | 6.807354922 | 45.88% |
| 94 | 18 | 4.169925001 | 34.34% |
| 95 | 10 | 3.321928095 | 35.32% |
| 96 | 13 | 3.700439718 | 32.67% |
| 97 | 17 | 4.087462841 | 37.27% |
| 98 | 103  | 6.692317443 | 59.27% |
| 99 | 90  | 6.495523955 | 89.33% |
| 100 | 38 | 5.247927513 | 31.73% |
| 101 | 36 | 5.169925001 | 30.93% |
| 102 | 158 | 7.303780748 | 97.42% |
| 103 | 18 | 4.169925001 | 27.43% |
| 104 | 217 | 7.761551232 | 66.40% |
| 105 | 12 | 3.584962501 | 17.32% |
| 106 | 120 | 6.906890596 | 50.58% |
| 107 | 47 | 5.554588852 | 30.87% |
| 108 | 26 | 4.700439718 | 30.77% |
| 109 | 11 | 3.459431619 | 15.82% |
| 110 | 446 | 8.8008999 | 58.25% |
| 111 | 39 | 5.285402219 | 74.30% |
| 112 | 99 | 6.62935662 | 32.30% |
| 113 | 71 | 6.14974712 | 46.22% |
| 114 | 13 | 3.700439718 | 32.51% |
| 115 | 29 | 4.857980995 | 39.76% |
| 116 | 31 | 4.95419631 | 23.97% |
| 117 | 77 | 6.266786541 | 34.85% |
| 118 | 825 | 9.688250309 | 87.08% |
| 119 | 54 | 5.754887502 | 55.02% |
| 120 | 50 | 5.64385619 | 43.44% |
| 121 | 118 | 6.882643049 | 36.64% |
| 122 | 64 | 6 | 32.83% |
| 123 | 20 | 4.321928095 | 37.88% |
| 124 | 166 | 7.375039431 | 54.60% |
| 125 | 182 | 7.50779464 | 55.28% |
| 126 | 52 | 5.700439718 | 59.21% |
| 127 | 480 | 8.906890596 | 65.73% |
| 128 | 48 | 5.584962501 | 41.21% |
| 129 | 41 | 5.357552005 | 16.83% |
| 130 | 84 | 6.392317423 | 33.01% |
| 131 | 24 | 4.584962501 | 23.18% |
| 132 | 322 | 8.330916878 | 77.09% |
| 133 | 50 | 5.64385619 | 33.02% |
| 134 | 44 | 5.459431619 | 36.28% |
| 135 | 22 | 4.459431619 | 36.61% |