## Table S1. Antigen_Near-POC
Table S1. Near-POC Antigen Tests | [20 empty] | Clinical Performance
Technology Type | Developer Description |  |  | Product Description |  | Product Characteristics | [9 empty] | Costs |  | Regulatory Status, User Case and End User |  |  | Accuracy |  |  |  |  | References
| Developer | Country | Website | Platform name | Assay name | Footprint (cm) | Sample type | Manual sample processing steps | Throughput capacity | Time-to-result (min) Hands-on-time (min) | Multi-use? | Connectivity | Max. operating temperature (°C) Max. operating humidity (%) | Shelf life (months) | Power requirements | Test price ($) | Instrument price ($) | Regulatory Status | Potential use case | Potential end user | Developer-reported sensitivity (%) [95% CI] | Developer-reported specificity (%) [95% CI] | Study-reported sensitivity (%) [95% CI]* | Study-reported specificity (%) [95% CI]* | LOD [copies/mL]† | Study ID [Author]
Reader-based LFT* | Becton Dickinson (BD) | US | Link | BD Veritor™ Plus System | COVID-19 Rapid Antigen Test | Unclear | NS† | None | 1 | 15 Unclear | Yes | Yes | 30 Unclear | Unclear | Battery-powered | Unclear | Unclear | CE-marked, US FDA EUA, Japan MHLW, Australia TGA, Health Canada, Singapore HSA | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 100 [89-100] | 100 [98-100] | 66.5 [59.6 - 72.7]¹ - 87.7 [80.1 - 92.7]² | 99.5 [97 - 100]³ - 99.8 [99 - 100]⁴ | Unclear | ¹ 461 [Karon et al] ² 595 [Yin et al] ³ 19592 [Kawser et al] ⁴ 19786 [Neukam et al]
Reader-based LFT* | Shenzhen Bioeasy Biotechnology | China | Link | Bioeasy Time-resolved Fluoresence Immunoassay Analyzer | 2019-Novel Coronavirus (2019-nCoV) Antigen Rapid Test Kit (FIA) | Unclear | NS, Sputum, Whole blood, Alveolar fluid, Serum, Plasma | None | 1 | 10-15 Unclear | Yes | No | Unclear Unclear | 24 | Battery-powered | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 85.98 | 100 | Unclear | Unclear | Unclear | NA
Reader-based LFT | Clip Health | US | Link‡ | Clip Analyzer Platform | Clip COVID Rapid Antigen Test | 7.7 x 3.7 x 15.5 | NS | None | 1 | 30 1.5 | Yes | Yes | 30 85 | Unclear | Battery-powered | Unclear | Unclear | US FDA EUA | Detection (TPP1/TPP3) | Self-testing | 96.9 [83.8 - 99.9] | 100 [97.2 - 100] | Unclear | Unclear | Unclear | NA
Reader-based LFT | Fujifilm | Japan | Link | FUJIFILM SILVAMP Reader | COVID-19 Ag Test | 8 x 9.5 x 12 | NPS§ | None | 1 | 10 - 13 Unclear | Yes | Yes | 35 80 | Unclear | Standard electricity | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3) | Self-testing | 90.9 [84.3 - 95.4] | 100 [96.5 - 100] | Unclear | Unclear | Unclear | NA
Reader-based LFT | Ellume | US | Link | NA | COVID-19 Home Test | Unclear | NS | None | 1 | 13-15 Unclear | No | Yes | 25 Unclear | Unclear | Battery-powered | >$10 | NA | US FDA EUA, Health Canada | Detection (TPP1/TPP3) | Self-testing | 95 [82 - 99] | 97 [93 - 99] | 91 - 96⁵ | 96 - 100⁵ | Unclear | ⁵ 299 [Benda et al]
Reader-based LFT | Avant Medical | Netherlands | Link | AFIAS-1; AFIAS-6 | AFIAS COVID-19 Antigen test | 23 x 20.4 x 18 (AFIAS-1); 42 x 33.6 x 29.3 (AFIAS-6) | NPS | None | 1 (AFIAS-1); 6 (AFIAS-6) | 12 - 20 Unclear | Yes | Yes | Unclear Unclear | Unclear | Standard electricity | Unclear | Unclear | CE-marked; Brazil ANVISA; Philippines FDA | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 87.5 | 96.5 | 37.5 [20.4 - 57.4]⁶ - 86.4 [75 - 93.9]⁷ | 98.3 [97.1 - 99.1]⁷ - 100 [95.7 - 100]⁶ | Unclear | ⁶ 488 [Baccani et al] ⁷ 266 [Lanari et al]
AI¶ (Electrochemical) | BBB Tech | South Korea | Link | MARK-B™ 1 analyzer | MARK-B™ COVID-19 Antigen Test | 3.4 x 3.4 | NPS | None | 1 | 10 - 15 Unclear | Yes | Yes | 30 Unclear | Unclear | Standard electricity | Unclear | Unclear | CE-marked; Korea MFDS | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 93 | 100 | 90 [79.4 - 96.2]⁸ | 99 [95 - 99.9]⁸ | Unclear | ⁸ 312 [Jo et al]
AI (Electrochemical) | Canon Global | UK | Link | Rapiim | Rapiim SARS-CoV-2 Qualitative Rapid Antigen Test System | Unclear | NS; NPS | None | Unclear | 4 - 15 Unclear | Unclear | Unclear | Unclear Unclear | Unclear | Standard electricity | Unclear | Unclear | Japan MHLW | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | Unclear | Unclear | Unclear | Unclear | Unclear | NA
AI (Electrochemical) | Celltrion | South Korea | Link | Sampinute™ Analyzer | Sampinute™ COVID-19 Antigen MIA | 11.4 x 20.6 x 8.6 | NPS | None | 1 | 10 Unclear | Yes | Yes | 45 80 | Unclear | Battery-powered | Unclear | Unclear | CE-marked; US FDA EUA | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 94.4 | 100 | Unclear | Unclear | Unclear | NA
AI (Electrochemical) | Hemex Health | US | Link | Gazelle® | Gazelle COVID-19 FIA Test | Unclear | Midturbinate swab | None | 1 | 8 Unclear | Yes | Yes | 45 Unclear | Unclear | Battery-powered | Unclear | Unclear | Unclear | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | Unclear | Unclear | 96.3⁹ | 99.7⁹ | Unclear | ⁹ 19613 [Mehta et al]
AI (Fluorescence) | PCL | South Korea | Link | PCLOK Ⅱ | COVID19 Ag Rapid FIA | Unclear | NPS | None | 1 - 6 | 20 Unclear | Yes | Unclear | Unclear Unclear | Unclear | Unclear | Unclear | Unclear | CE-marked; MFDA | Detection (TPP1/TPP3) | Unclear | Unclear | Unclear | 38.9¹⁰ - 69.8 [55.66 - 81.66]¹¹ | 83.3¹⁰ - 94.1 [80.32 - 99.28]¹¹ | Unclear | ¹⁰ 812 [Rastawicki et al] ¹¹ 303 [Al-Alawi et al]
AI (Fluorescence) | Qorvo | US | Link | Qorvo Omnia™ platform | Qorvo Omnia™ SARS-CoV-2 Antigen Test | 25.4 x 22.9 x 12.7 | NS | None | 1 | 20 1 | Yes | Yes | 30 80 | Unclear | Standard electricity | Unclear | Unclear | US FDA EUA | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 85.37 [70.83 - 94.43] | 100 [95.01 - 100] | Unclear | Unclear | 125 [Developer-reported] | NA
AI (Fluorescence) | Quidel | US | Link | Sofia/Sofia 2 analyzer | Sofia SARS Antigen FIA | 22 x 12 x 12 | NS | None | 1 | 15 Unclear | Yes | Yes | 30 85 | Unclear | Battery-powered | Unclear | Unclear | CE-marked; US FDA EUA; Health Canada; Japan MHLW; Australia TGA | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 96.7 | 100 | 41.2 [18.4 - 67.1]¹² - 76.4 [70.9 - 81.2]¹³ | 98.4 [97.3 - 99.1]¹² - 99 [98.3 - 99.4]¹³ | 452 000¹⁴ | ¹² 19597 [Anand et al] ¹³ 19687 [Bruemmer et al] ¹⁴ 1143 [Filchakova et al]
AI (Chemiluminescence) | Lumira Dx | UK | Link | LumiraDx Platform | LumiraDx SARS-CoV-2 Ag Test | 21 x 9.7 x 7.3 | NS; NPS | None | 1 | 12 1 | Yes | Yes | 30 90 | Unclear | Battery-powered | Unclear | Unclear | CE-marked; US FDA EUA; WHO EUL; Japan MHLW; Health Canada; MHRA UK | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 97.6 | 96.6 | 82. 7 [73.2 - 89.4]¹³ | 96.9 [94.4 - 98.3]¹³ | Unclear | NA
AI* (Fluorescence) | Boditech | South Korea | Link | ichroma™ II | ichroma™ COVID-19 Ag | 27.6 x 22 x 9.1 | NPS† | 1 - 2 steps | 1 | 20 Unclear | Yes | Yes | Unclear Unclear | 20 | Battery-powered | Unclear | Unclear | CE-marked; Korea MFDS | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 91.1 | 98.8 | 38.3 - 45.4¹⁵ | 100 [97.7 - 100]¹⁵ | Unclear | ¹⁵ 630 [Kweon et al]
AI (Fluorescence) | Qiagen | Netherlands | Link | QIAreach eHub | QIAreach SARS-CoV-2 Antigen Test | 30.4 x 11.2 x 5.1 | NS‡; NPS | >2 | 8 | 2 - 15 Unclear | Yes | Yes | 30 65 | Unclear | Battery-powered | Unclear | Unclear | CE-marked; US FDA EUA | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 80.65 [68.63 - 89.58] - 85 [73.43 - 92.9] | 98.31 [95.13 - 99.65] - 99.05 [96.6 - 99.88] | Unclear | Unclear | Unclear | NA
AI (Fluorescence) | SD Biosensor | South Korea | Link | Standard F | COVID-19 Ag FIA | 20 x 24 x 20.5 | NS; NPS | None | 1 | 20 - 30 Unclear | Yes | Yes | 32 93 | Unclear | Standard electricity | Unclear | Unclear | CE-marked; Korea MFDS | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | Unclear | Unclear | 66.4 [57.4 - 74.4]¹³ | 97.9 [96.9 - 98.5]¹³ | 250 000¹⁴ | ¹³ 19687 [Bruemmer et al] ¹⁴ 1143 [Filchakova et al]
*LFT = Lateral Flow Test; †NS = Nasal swab; ‡Company shut down in summer 2023; §NPS = Naspharyngeal swab; ¶AI = Automated Immunoassay | [20 empty] | *Pooled value extracted from systematic reviews (if available), range (min - max) extracted from cross-sectional studies; †If more than one value available, range (min - max) reported - for alternative units please refer to the Supplementary materials
*
Note on A1: same as above -Sonal Jain ---- same as above -Sonal Jain ---- Same as above -Sonal Jain ---- I would reclassify this as nearPOC. It meets all the requirements except that the developer doesn't provide a pre-adjusted pipette. According to the definition of a nearPOC test - the device should not require any "special infrastructure" as well and can be placed in health clinics without labs. A pre-adjusted pipette wouldn't count as special infrastructure. -Sonal Jain ---- Also Near POC based on the workflow. All the user has to do is to load the sample into the cartridge and then everything happens inside the instrument. https://diagnostics.roche.com/us/en/products/systems/eplex-system-sys-356.html -Sonal Jain ---- This also seems like a Near POC to me based on the workflow and end-user skills - https://www.genesystem.co.kr/GeneChecker_UF-300/index.html -Sonal Jain ---- I would classify this as Near POC because the workflow doesn't seem to require any special pipetting skills (https://www.fluxergy.com/platform) -Sonal Jain ---- I would also classify this as Near POC since it comes with pre-loaded reagent vials (and doesn't require precise pipetting) and therefore can be run by minimally rained HCW. -Sonal Jain ---- I would classify this as a Near POC because the end user can be a minimally trained HCW. -Sonal Jain ---- The Visby COVID test uses RT-PCR and not isothermal amplification. -Sonal Jain I added it to the PCR test table -Lydia Holtgrewe ---- < 1/2 day (4 work hours) for a health-care worker -Lydia Holtgrewe ---- 12 months at +5 °C to +35 °C with 70% humidity; should be able to tolerate stress during transport (72 hours at +50 °C); no cold chain should be required -Lydia Holtgrewe ---- Integrated -Lydia Holtgrewe ---- Between +5 °C and +40 °C with 70% humidity -Lydia Holtgrewe ---- The test menu must be simple to navigate; the instrument should have an integrated LCD screen, a simple keypad or touch screen, and the ability to save results using either the instrument or a separate reade -Lydia Holtgrewe ---- A small, portable or hand-held device weighing < 1 kg -Lydia Holtgrewe ---- Optional battery or solar-powered operation -Lydia Holtgrewe ---- None -Lydia Holtgrewe ---- One sample at a time -Lydia Holtgrewe ---- < 30 minutes including time spent preparing the sample -Lydia Holtgrewe ---- 2 steps (excluding waste disposal); precise timing and measuring should not be required Only 1 external reagent should be required and should be part of the test kit -Lydia Holtgrewe ---- Sputum; a non-sputum sample type would be preferred (such as urine, oral mucosal transudates, saliva, exhaled air, or blood from a finger-stick); imaging technology -Lydia Holtgrewe ---- NA -Lydia Holtgrewe ---- Overall specificity should be > 70% when compared with the confirmatory test -Lydia Holtgrewe ---- Overall sensitivity should be > 90% when compared with the confirmatory test for pulmonary TB -Lydia Holtgrewe ---- < US$ 50.00 -Lydia Holtgrewe ---- < US$ 2.00 -Lydia Holtgrewe ---- Health posts and primary-care clinics or higher levels of the health-care system -Lydia Holtgrewe ---- Staff trained to the level of auxiliary nurses -Lydia Holtgrewe ---- Target groups are adults and children suspected of having active, pulmonary TB in countries with a medium prevalence to a high prevalence of TB as defined by WHO -Lydia Holtgrewe ---- A test used during a patient’s first encounter with the health-care system to identify patients with any symptoms or risk factors for active pulmonary TB, including patients coinfected with HIV, those who do not have TB and those in need of referral for further confirmatory testing -Lydia Holtgrewe

## Table S2. Molecular_POC
Table S2. POC Molecular Tests | [20 empty] | Clinical Performance
Technology Type | Developer Description |  |  | Product Description |  | Product Characteristics | [9 empty] | Costs |  | Regulatory Status, User Case and End User |  |  | Accuracy |  |  |  |  | References
| Developer | Country | Website | Platform name | Assay name | Footprint (cm) | Sample type | Manual sample processing steps | Throughput capacity | Time-to-result (min) Hands-on-time (min) | Multi-use? | Connectivity | Max. operating temperature (°C) Max. operating humidity (%) | Shelf life (months) | Power requirements | Test price ($) | Instrument price ($) | Regulatory Status | Potential use case | Potential end user | Developer-reported sensitivity (%) [95% CI] | Developer-reported specificity (%) [95% CI] | Study-reported sensitivity (%) [95% CI]* | Study-reported specificity (%) [95% CI]* | LOD [copies/mL]† | Study ID [Author]
Isothermal amplification | Pfizer | US | Link | NA (Instrument-free) | Lucira Check It COVID-19 Test | 19.1 x 8 x 5.2 | NS | None | 1 | 11 - 30 Unclear | Yes | No | 45 95 | 18 | Battery-powered | >$10 | NA | US FDA EUA; Health Canada; Singapore HSA | Detection (TPP1/TPP3) | Self-testing | 92 - 94.1 | 98 | 93.06 [84.53 - 97.71]¹ | 100 [96.38 - 100]¹ | 900² | ¹ 19906 [Zahavi et al] ² 584 [Shaffaf et al]
*NS = Sasal Swab; †NPS = Nasopharyngeal Sample; ‡OPS = Oropharyngeal Swab; §PCR = Polymerase Chain Reaction | [20 empty] | *Pooled value extracted from systematic reviews (if available), range (min - max) extracted from cross-sectional studies; †If more than one value available, range (min - max) reported - for alternative units please refer to the Supplementary materials
*

## Table S3. Molecular_NearPOC
Table S3. Near-POC Molecular Tests | [20 empty] | Clinical Performance
Technology Type | Developer Description |  |  | Product Description |  | Product Characteristics | [9 empty] | Costs |  | Regulatory Status, User Case and End User |  |  | Accuracy |  |  |  |  | References
| Developer | Country | Website | Platform name | Assay name | Footprint (cm) | Sample type | Manual sample processing steps | Throughput capacity | Time-to-result (min) Hands-on-time (min) | Multi-use? | Connectivity | Max. operating temperature (°C) Max. operating humidity (%) | Shelf life (months) | Power requirements | Test price ($) | Instrument price ($) | Regulatory Status | Potential use case | Potential end user | Developer-reported sensitivity (%) [95% CI] | Developer-reported specificity (%) [95% CI] | Study-reported sensitivity (%) [95% CI]* | Study-reported specificity (%) [95% CI]* | LOD [copies/mL]† | Study ID [Author]
Isothermal amplification | Abbott | US | Link | ID NOW™ | ID NOW COVID-19 test | 20.7 x 19.4 x 14.5 | NS*; NPS†; OPS‡ | None | 1 | 5 - 13 Unclear | Yes | Yes | 30 Unclear | Unclear | Standard electricity | Unclear | Unclear | US FDA EUA; Japan MHLW; Australia TGA; Health Canada; MHRA UK | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 91.3 | 100 | 74 [67 - 80]¹ - 94² | 96² - 100 [98 - 100]³ | 81⁴ - 300 000⁵ | ¹ 826 [Subsoontorn et al] ² 1000 [Mahendiratta et al] ³ 769 [Yoon et al] ⁴ 19686 [Bruijns et al] ⁵ 381 [Graham et al]
Isothermal amplification | Cue Health | US | Link | Cue Reader | Cue’s COVID‑19 Diagnostic Test | Unclear | NS | None | 1 | 20 Unclear | No | Yes | 30 Unclear | 9 | Battery-powered | >$10 | $20 - $100 | CE-marked; US FDA EUA; Health Canada Interim Order; India (CDSCO); Singapore HSA | Detection (TPP1/TPP3) | Self-testing | 91.7 [86.5 - 99.5] | 99.1 [96.9 - 99.8] | Unclear | Unclear | 1 300 [Developer-reported] - 60 000⁵ | NA
Isothermal amplification | STAB Vida | Portugal | Link | DoctorVida Pocket Test | Rapid COVID PCR | 3.3 x 7.58 x 4.45 | NS; NPS | 1-2 steps | 1 | 20 - 50 2 - 10 | Yes | Yes | 30 80 | Unclear | Standard electricity | >$10 | $100 - $500 | Unclear | Detection (TPP1/TPP3) | Self-testing | 96.3 | 100 | 78.95 [54.43 - 93.95] - 95.19 [89.14 - 98.42]⁶ | 100 [47.82 - 100]⁶ | Unclear | ⁶ 19963 [Doria et al]
Isothermal amplification | SkillCell Alcen | France | Link | EasyVID | EasyCOV | 30 x 27 x 8.5 | Saliva | 1-2 steps | 6 | 40 Unclear | Unclear | Yes | Unclear Unclear | Unclear | Standard electricity | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 86 | 99 | 34 [26 - 44]⁷ | 97 [96 - 98]⁷ | Unclear | ⁷ 263 [LeGoff et al]
PCR§ | A. Menarini diagnostics | Italy | Link | VitaPCR™ Platform | VitaPCR™ SARS-CoV-2 Gen 2 Assay | 15.5 x 16.5 x 20.5 | NPS; OPS | 1-2 steps | 1 | 20 <1 | Yes | Yes | 38 80 | Unclear | Standard electricity | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 100 [88.4 - 100] | 100 [88.4 - 100] | 99.3⁸ - 100 [93.7 - 100]⁹ | 94.7⁸ - 99.8 [99.3 - 99.9]⁹ | 1 000 [Developer-reported] - 2730¹⁰ | ⁸ 893 [Fournier et al] ⁹ 147 [Suleman et al] ¹⁰ 678 [Song et al]
PCR | Bosch | Germany | Link | Vivalytic analyzer | Vivalytic SARS‑CoV‑2 rapid PCR test | 40 x 20.4 x 38.8 | NPS; OPS | None | 1 | 39 Unclear | Yes | Yes | 30 80 | Unclear | Standard electricity | Unclear | Unclear | CE-marked; MHRA UK | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 98 | 100 | 88¹¹ - 96¹² | 96¹¹ - 100¹² | 750 [Developer-reported] | ¹¹ 19691 [Heger et al] ¹² 11 [Slambrouck et al]
PCR | Biomeme | US | Link | SARS-CoV-2 RT-PCR Go-Strips® | Franklin™ | 10.1 x 18.2 x 8.9 | NS; NPS; OPS; Nasopharyngeal wash/aspirate; Nasal aspirate | >2 | 9 | 15 - 60 2 | Yes | Yes | 40 99 | Unclear | Battery-powered | Unclear | >$5000 | CE-marked; US FDA EUA; Health Canada | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 96.9 [91.3 - 99.4] | 99.3 [90.6 - 100] | 61 [42 - 78]¹³ - 99 [97.05 - 100]¹⁴ | 97.83 [94.85 - 100]¹⁴ - 100 [97 - 100]¹³ | 1 800 [Developer-reported] - 4200¹³ | ¹³ 20071 [Voelker et al] ¹⁴ 688 [Zowawi et al]
PCR | Biomerieux | Spain | Link | Filmarray platform | BIOFIRE® FILMARRAY® Respiratory 2.1 plus Panel | 16.5 x 25.4 x 39.3 | NPS | 1 - 2 steps | 1 | 60 2 | Yes | Yes | Unclear Unclear | Unclear | Unclear | >$10 | Unclear | CE-marked; US FDA EUA; Australia TGA; Singapore HSA; MHRA UK | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 97.1 | 99.3 | 99.2¹⁵ | 100¹⁵ | 160¹⁶ - 6 000¹⁷ | ¹⁵ 379 [Jian et al] ¹⁶ 558 [SafiabadiTali et al] ¹⁷ 408 [Gitman et al]
PCR | DNA Nudge | UK | Link | NudgeBox | COVID Bubble Test™ | 28 x 15.5 x 13.5 | NS; NPS; Sputum | None | 4 | 90 Unclear | No | Yes | 40 85 | 36 | Standard electricity | >$10 | Unclear | MHRA (UK) | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 94.4 | 100 | 94 [86 - 98]¹⁸ - 98.65 [92.7 - 99.97]¹⁹ | 100 [99 - 100]¹⁸ | 5 000 - 10 000²⁰ | ¹⁸ 19493 [Gibani et al] ¹⁹ 462 [Burdett et al] ²⁰ 52 [Kang et al]
PCR | DRW | UK | Link | SAMBA II platform | SAMBA II SARS-CoV-2 Test | 20 x 20 x 20 | NS; OPS | None | 4 | 90 <1 | Yes | Yes | 38 80 | Unclear | Standard electricity | Unclear | Unclear | CE-marked; WHO EUL; MHRA(UK) | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 98.7 | 100 | 97¹ - 98.9 [93.8 - 100]²¹ | 96.4 [89.9 - 99.3]²¹ - 97¹ | 250 [Developer-reported] | ¹ 826 [Subsoontorn et al] ²¹ 656 [Dinnes et al]
PCR | Luminex Corporation | US | Link | ARIES system | ARIES® SARS‑CoV‑2 Assay (EUA) | 39.1 x 61.2 x 95 | NPS | 1 - 2 steps | 12 | 120 <2 | Yes | Yes | 95 Unclear | Unclear | Standard electricity | Unclear | Unclear | CE-marked; US FDA EUA | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 95.5 | 100 | 26.7 - 100²² | 100²² | 333²³ - 180 000⁵ | ²² 994 [Tanida et al] ²³ 814 [Yu et al] ⁵ 381 [Graham et al]
PCR | Nuclein | US | Link | DASH platform | DASH SARS-CoV-2/S Test | 28 x 39 x 11 | NS; NPS; Saliva | None | 1 | <15 <1 | Yes | No | 30 80 | Unclear | Standard electricity | Unclear | Unclear | US FDA EUA | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 95.9 | 98.5 | 96 [86 - 100]²⁴ | 98 [96 - 100]²⁴ | 100²⁴ | ²⁴ 112 [Aschenbach et al]
PCR | Mizuho Medi | Japan | Link | Gene analysis instrument | SARS-CoV-2 detection kit | 15.2 × 34.3 × 30 | NS; NPS | 1 - 2 steps | 1 | 40 - 60 Unclear | Yes | No | 30 80 | 9 | Standard electricity | Unclear | $1000 - $5000 | Japan MHLW | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | Unclear | Unclear | 90²⁵ - 98 [89.6 - 100]²⁶ | 99 [97.2 - 99.8]²⁶ - 100²⁵ | 456²⁶ | ²⁵ 350 [Watanabe et al] ²⁶ 19588 [Kiyasu et al]
PCR | Qiagen | Netherlands | Link | QIAstat-Dx Analyzer | QIAstat-Dx Respiratory SARS-CoV-2 Panel | 23.4 x 32.6 x 51.7 | NPS | None | 4 | 67 - 75 <1 | Yes | Yes | 30 80 | Unclear | Standard electricity | Unclear | Unclear | CE-marked; US FDA EUA; Australia TGA; Health Canada; Singapore HSA; MHRA UK | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 100 [85.8 - 100] | 100 [85.8 - 100] | 100²⁷ | 93²⁷ | 100²⁹ - 1 000²⁸ | ²⁷ 1100 [Visseaux et al] ²⁸ 1033 [Li et al]
PCR | QuantuMDx | UK | Link | Q-POC™ | Q-POC™ SARS-CoV-2 assay | 24 x 30 x 20 | NS; OPS; Midturbinate swab | 1 - 2 steps | 6 | 30 - 32 3 | Yes | Yes | 45 95 | 12 | Battery-powered | Unclear | Unclear | CE-marked; MHRA UK | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 80 [64.4 - 91] | 99.1 [94.9 - 100] | 90 [64.4 - 100]²⁹ | 99.1 [94.9 - 100]²⁹ | 1000³⁰ | ²⁹ 19584 [Caffry et al] ³⁰ 19754 [Perveen et al]
PCR | Roche | Switzerland | Link | cobas® Liat® System | cobas® SARS-CoV-2 | 19 x 11.4 x 24.1 | NSl NPS; Midturbinate swab | 1 - 2 steps | 1 | 20 5 | Yes | Yes | 32 80 | Unclear | Standard electricity | 60 | Unclear | US FDA EUA; Japan MHLW; Health Canada; MHRA UK | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 96.1 [89 - 98.6] - 100 [84.5 - 100] | 98.6 [92.6 - 98.6] - 98.9 [96.2 - 99.7] | 88.6³¹ - 100³² | 97.4³² - 100³³ | 12 [Developer-reported] - 10 000³⁴ | ³¹ 1142 [Akashi et al] ³² 857 [Hansen et al] ³³ 206 [Beaumont et al] ³⁴ 23 [Czibere et al]
PCR | SD Biosensor | South Korea | Link | Standard M10 | M10 SARS-CoV-2 | 14 x 33 x 32 | NPS; OPS | 1 - 2 steps | 8 | 30 - 60 1 | Yes | Yes | 40 80 | Unclear | Standard electricity | Unclear | Unclear | CE-marked; Korea MFDS; Brazil ANVISA; MHRA UK; WHO EUL Under Assessment | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 100 [96.67 - 100] | 100 [96.67 - 100] | 95³⁵ | 100³⁵ | Unclear | ³⁵ 19790 [Meletis et al]
PCR | Genomadix | Canada | Link | Genomadix Cube | Spartan COVID-19 Test | 10.16 x 10.16 | Unclear | Unclear | Unclear | 60 Unclear | Yes | Unclear | Unclear Unclear | Unclear | Unclear | Unclear | Unclear | Health Canada | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | Unclear | Unclear | Unclear | Unclear | Unclear | NA
PCR | Talis Biomedical | US | Link | Talis One platform | TALIS ONE™ COVID-19 TEST SYSTEM | 35.6 x 25.4 x 17.8 | Midturbinate swab | None | 1 | 27 2 | Yes | Yes | Unclear Unclear | Unclear | Standard electricity | Unclear | Unclear | None | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 95.7 [85.5 - 98.9] | 100 [92.4 - 100] | Unclear | Unclear | 500 [Developer-reported] | NA
PCR | Thermo Fisher Scientific | US | Link | Accula Dock | Accula™ SARS-CoV-2 Test | 9.7 x 9.9 x 14.5 | NS; Midturbinate swab | None | 1 | 30 5 | Yes | No | 30 Unclear | 18 | Standard electricity | >$10 | $100 - $500 | US FDA EUA | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 95.8 | 100 | 68 [53.3 - 80.5]²¹ | 100 [92.9 - 100]²¹ | 100³⁶ - 150 [Developer-reported] | ²¹ 656 [Dinnes et al] ³⁶ 19859 [Garzarelli et al]
PCR | Uniogen | Finland | Link | GenomEra® CDX instrument | GenomEra SARS-CoV-2 2.0 Assay Kit | 39.3 x 32.5 x 54 | NPS; OPS | 1 - 2 steps | 4 | 50 - 70 2 - 10 | Yes | Yes | Unclear Unclear | Unclear | Unclear | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 98.3 [96.4 - 99.4] | 99.8 [99 - 100] | Unclear | Unclear | Unclear | NA
PCR | UStar | China | Link | EasyNAT® System | Diagnostic Kit for Novel-Coronavirus (2019-nCoV) | 39 x 30 x 47 (smallest model) - 39 x 57 x 47 (largest model) | NS; NPS; OPS; Sputum; Saliva | None | 4 - 16 (model-dependent) | 25 <2 | Yes | Yes | 30 Unclear | 12 | Unclear | Unclear | Unclear | CE-marked; China NMPA; Australia TGA; Brazil ANVISA; Peru DIGEMID; Indonesia MDR | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 100 | 100 | Unclear | Unclear | 200 [Developer-reported] | NA
PCR | Visby Medical | US | Link | NA (Instrument-free) | Visby Medical COVID-19 Test | 13.8 x 6.7 x 4.4 | NS; NPS | 1-2 steps | 1 | 30 <2 | Yes | No | 30 80 | Unclear | Standard electricity | Unclear | NA | US FDA EUA | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | 93.2 | 98.9 | 95 [86.3 - 99]³⁷ | 98.7³⁸ - 100 [80.5 - 100]³⁷ | 100³⁸ - 1112⁴ | ³⁷ 573 [Renzoni et al] ³⁸ 141 [Fuentes et al] ⁴ 19686 [Bruijns et al]
PCR | Hangzhou Lifereal Biotechnology | China | Link | Automatic Integrated Gene detection System (AIGS) | COVID-19 nucleic acid (RNA) POCT detection kit | 38 x 30.5 x 34.3 | NS; NPS; OPS; Sputuml BAL; Stool | 1 - 2 steps | 4 | 90 2 | Yes | Yes | Unclear Unclear | Unclear | Standard electricity | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3) | Community or lay health worker without technical skills | Unclear | Unclear | Unclear | Unclear | 250 [Developer-reported] - 365¹⁰ | ¹⁰ 678 [Song et al]
PCR | Shanghai Rendu Biotechnology | China | Link | AutoSAT | AmpSure®Covid-19 Assay | 14.2 x 82 x 100 | OPS; Sputum | Unclear | 80 | 90 Unclear | Yes | Unclear | 35 80 | 6 | Standard electricity | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | Unclear | Unclear | Unclear | Unclear | Unclear | NA
PCR | DiaSorin Molecular | US | Link | Liaison MDX | Simplexa® COVID-19 Direct Kit | 31 x 21 x 31 | NS; NPS; Nasal wash/aspirate; BAL¶ | None | 8 | 90 Unclear | Yes | Yes | 99 Unclear | Unclear | Standard electricity | Unclear | Unclear | US FDA EUA; US FDA 510k; Australia TGA; Health Canada | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 96.7 - 100 | 100 | 93.13³⁹ | 96.45³⁹ | 167 - 511⁴⁰ | ³⁹ 19564 [Trevor et al] ⁴⁰ 1025 [Fung et al]
PCR | Fluxergy | US | Link | Fluxergy Analyzer | COVID-19 PCR Test Kit | 26.19 x 13.13 x 25.8 | NS; NPS | None | 1 | 60 Unclear | Yes | Yes | 30 85 | Unclear | Standard electricity | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 100 | 100 | Unclear | Unclear | Unclear | NA
PCR | GeneReach | Taiwan | Link | POCKIT™ Central Nucleic Acid Analyzer | POCKIT™ Central SARS-CoV-2 (orf 1ab) Premix Reagent | 31 x 48 x 40 | NPS; OPS | >2 steps | 8 | 85 Unclear | Yes | Unclear | 35 Unclear | Unclear | Battery-powered | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | 96.8 | 97.1 | 86.7⁴¹ | 98.8⁴¹ | Unclear | ⁴¹ 19520 [Micocci et al]
PCR | Genesystem | South Korea | Link | Novel Coronavirus (SARS-CoV-2) Detection Kit | GENECHECKER® UF-300 real-time PCR system | 21.8 x 20 x 1.42 | NPS; OPS | 1 - 2 steps | 4 | 45 5 - 10 | Yes | No | Unclear Unclear | Unclear | Battery-powered | Unclear | Unclear | CE-marked; Korea MFDS | Detection (TPP1/TPP3); DST (TPP4) | Community or lay health worker without technical skills | Unclear | Unclear | 95.23¹⁹ | 99.2⁴² | Unclear | ⁴² 550 [Mahmoud et al]
*NS = Nasal Swab; †NPS = Nasopharyngeal Sample; ‡OPS = Oropharyngeal Swab; §PCR = Polymerase Chain Reaction | [20 empty] | *Pooled value extracted from systematic reviews (if available), range (min - max) extracted from cross-sectional studies; †If more than one value available, range (min - max) reported - for alternative units please refer to the Supplementary materials
*
Note on A18: Just realized that Truenat is already used for TB diagnosis and hence not eligible for inclusion in our review -Lydia Holtgrewe

## Table S4. Molecular_Low-complex
Table S4. Low-complexity Molecular Tests | [20 empty] | Clinical Performance
Technology Type | Developer Description |  |  | Product Description |  | Product Characteristics | [9 empty] | Costs |  | Regulatory Status, User Case and End User |  |  | Accuracy |  |  |  |  | References
| Developer | Country | Website | Platform name | Assay name | Footprint (cm) | Sample type | Manual sample processing steps | Throughput capacity | Time-to-result (min) Hands-on-time (min) | Multi-use? | Connectivity | Max. operating temperature (°C) Max. operating humidity (%) | Shelf life (months) | Power requirements | Test price ($) | Instrument price ($) | Regulatory Status | Potential use case | Potential end user | Developer-reported sensitivity (%) [95% CI] | Developer-reported specificity (%) [95% CI] | Study-reported sensitivity (%) [95% CI]* | Study-reported specificity (%) [95% CI]* | LOD [copies/mL]† | Study ID [Author]
Isothermal amplification | Biopix-T | Greece | Link | PEBBLE-R qcLAMP platform | COV19 qcLAMP kit | 18.1 x 10.7 x 5.2 | NS*; NPS†; Saliva; Biopsy tissue | None | 6 | 15 - 30 <5 | Yes | Yes | 30 75 | 12 | Standard electricity | $4 - $10 | Unclear | CE-marked | Detection (TPP1/TPP3) | Healthcare worker with a minimum of training | 85.0 [79.2-90.8] | 99.4 [98.3 -100] | Unclear | Unclear | 5 000 [Developer-reported] | NA
Isothermal amplification | Atila BioSystems | US | Link | Atila Power-Gene 9600 | iAMP COVID-19 Detection Kit | 4.1 x 3.86 x 3.52 | NS; NPS; OPS‡ | >2 | 94 | 60 - 120 40 | Yes | Yes | 40 Unclear | 12 | Standard electricity | Unclear | Unclear | Korea MFDS; US FDA EUA | Detection (TPP1/TPP3) | Healthcare worker with a minimum of training | 100 [67.6 - 100] | 100 [72.3 - 100] | 76.2 [71.1 - 80.7]¹ | 94.9 [93.3 - 96.1]¹ | 2 400² - 180 000³ | ¹ 298 [Desai et al] ² 20060 [DeFelice et al] ³ 381 [Graham et al]
Isothermal amplification | MD-Bio | US | Link | MD-Bio Preparation station; MD-Bio Analysis station | MobileDetectBIO BCC19 Test Kit for SARS-CoV-2 Detection | Unclear | NS; NPS; OPS | >2 | 96 | 30 Unclear | Yes | Yes | Unclear Unclear | Unclear | Standard electricity | Unclear | Unclear | CE-IVDD; US FDA EUA | Detection (TPP1/TPP3); DST (TPP4) | Healthcare worker with a minimum of training | 97.7 [88 -100] | 100 [94.3 - 100] | Unclear | Unclear | 75 000 [Developer-reported] | NA
Isothermal amplification | OptiGene | UK | Link | Genie® II | COVID-19_Direct Plus RT-LAMP KIT-500 | 12 x 21 x 30 | NPS; OPS; Saliva | >2 | 16 | 17 - 30 Unclear | Yes | Yes | 40 Unclear | Unclear | Battery-powered | Unclear | Unclear | CE-marked; MHRA UK | Detection (TPP1/TPP3); DST (TPP4) | Healthcare worker with a minimum of training | 78.74 - 100 | 100 | 25.5 [14.7 - 39]¹ | 100 [88.4 - 100]¹ | 1 000 [Developer-reported] | NA
PCR§ | ArcDia | Finland | Link | mariPOC® | mariPOC COVID-19 test | Unclear | NS; NPS | 1 - 2 steps | 308 | 20 - 120 1 | Yes | Yes | Unclear Unclear | Unclear | Unclear | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3); DST (TPP4) | Healthcare worker with a minimum of training | 84.4 - 100 | 100 | 76.1⁴ | 100⁴ | 84 500 [Developer-reported] | ⁴ 19616 [Gunell et al]
PCR | Biocartis | Switzer- land | Link | Idylla™ platform | IdyllaTM SARS-CoV-2 Test | 30.5 x 19 x 50.5 | NPS | 1 - 2 steps | 8 | 90 <2 | Yes | Yes | 30 80 | Unclear | Standard electricity | Unclear | Unclear | CE-marked; MHRA UK | Detection (TPP1/TPP3); DST (TPP4) | Healthcare worker with a minimum of training | 100 [88.6 - 100] | 96.7 [83.3 - 99.4] | 100⁵ | 100⁵ | 500 [Developer-reported] | ⁵ 417 [Hofman et al]
PCR | Roche | US | Link | ePlex system | ePlex® RP2 Panel | 59 x 48 x 54 | NPS | 1 - 2 steps | 3+ (model-dependent) | 90 - 120 <1 | Yes | Yes | 30 85 | Unclear | Standard electricity | Unclear | Unclear | CE-marked; US FDA EUA; MHRA (UK) | Detection (TPP1/TPP3); DST (TPP4) | Healthcare worker with a minimum of training | 100 [93.9 - 100] | 100 [96.7 - 100] | 91.4 [81 - 97]⁶ | 100 [93 - 100]⁶ | 250 [Developer-reported] - 100 000⁷ | ⁶ 1103 [Zhen et al] ⁷ 711 [Kabir et al]
PCR | Hyris | UK | Link | bCube system | bKIT Virus finder COVID-19 | 10 x 10 x 12 | NPS; OPS; Saliva | >2 steps | 13 - 36 (model-dependent) | <120 Unclear | Yes | Yes | Unclear Unclear | Unclear | Standard electricity | Unclear | Unclear | CE-marked | Detection (TPP1/TPP3); DST (TPP4) | Healthcare worker with a minimum of training | >95 | 100 | 97.6 [87.2 - 99.9]⁸ | 100 [97 - 100]⁸ | 10 000⁹ | ⁸ 138 [Padoan et al] ⁹ 297 [GoriSavellini et al]
PCR | Rheonix | US | Link | Rheonix Encompass MDx® workstation | Rheonix COVID-19 MDx Assay | Unclear | NPS; OPS; Saliva; Midturbinate swab; Nasal wash; BAL | 1 - 2 steps | 24 | Unclear 15 | Yes | Unclear | 30 85 | Unclear | Unclear | Unclear | Unclear | US FDA EUA | Detection (TPP1/TPP3); DST (TPP4) | Healthcare worker with a minimum of training | 97.8 [88.4 - 99.6] | 100 [89.9 - 100] | Unclear | Unclear | 625 [Developer-reported] | NA
PCR | T2 Biosystems | US | Link | T2Dx Instrument | T2SARS-CoV-2 Panel | 102.9 x 62.2 x 72.4 | NS; NPS; OPS; Midturbinate swab; Whole blood; BAL | None | 7 | <120 Unclear | Yes | Yes | 25 85 | Unclear | Standard electricity | Unclear | Unclear | US FDA EUA | Detection (TPP1/TPP3); DST (TPP4) | Healthcare worker with a minimum of training | 95 [86.3 - 98.3] | 100 [91.4 - 100] | Unclear | Unclear | 2000 [Developer-reported] | NA
PCR | Sansure Biotech | China | Link | iPonatic | Novel Coronavirus (2019-nCoV) Nucleic Acid Diagnostic Kit | Unclear | NPS; OPS; Sputum; Whole blood; BA; Feces | >2 steps | 4 | 8 - 45 1 | Yes | Unclear | Unclear Unclear | Unclear | Standard electricity | Unclear | Unclear | CE-marked; China NMPA; Brazil ANVISA | Detection (TPP1/TPP3) | Healthcare worker with a minimum of training | Unclear | Unclear | Unclear | Unclear | NA | NA
*NS = Nasal Swab; †NPS = Nasopharyngeal Sample; ‡OPS = Oropharyngeal Swab; §PCR = Polymerase Chain Reaction; ¶BAL = Bronchoalveolar Lavage | [20 empty] | *Pooled value extracted from systematic reviews (if available), range (min - max) extracted from cross-sectional studies; †If more than one value available, range (min - max) reported - for alternative units please refer to the Supplementary materials
*
Note on A11: same as above -Sonal Jain ---- nearPOC according to me, you don't need lab infrastructure to run this, and a pre-adjusted pipette can be provided, so I would think this counts as nearPOC -Sonal Jain ---- See workflow here - https://www.fluxergy.com/platform I would classify this as nearPOC -Sonal Jain ---- This should be nearPOC, no? -Sonal Jain