
**Additional file 2**



**Additional figure 2.** Intelligent esophageal pressure catheter (iEPC). The tiny solid-state sensor is embedded in the catheter, with a small balloon just above this sensor (top right photo). This balloon does not record any pressures but serves as a placeholder to make sure the sensor does not attach/stick to the esophageal wall.