## AntibodyTestCost
Florian Krammer’s ELISA antibody test – process map |  | Cost | Set time in Sheet3 | Time | Cost/Hour | Staff | Consumables | Equipment | Reference | Cost/Hour | Consumables | Equipment
1] Doctor or nurse generates computer blood test request |  | 3.675 |  | 0.25 | 3.675 | Hosp |  |  | NHS Reference Costs 2017-18 | 3.675
2] Patient books in for blood test with GP or hospital |  | 2.8577 |  | 0.25 | 11.431 | GP |  |  | NHS Reference Costs 2017-18 | 2.8577
3] 1 x 4ml serum gel tube of blood taken, labelled and sent to test centre (phlebotomist, needle, syringe, 5 minutes https://www.sarstedt.com/fileadmin/user_upload/Katalog/2019/45_200_catalogue_en_eu_eu_2019_2020_hp.pdf |  | 3 |  |  | 0 |  | 3 |  | NHS Reference Costs 2017-18
3
4] Tubes received in test centre. Spun for 3 minutes and 2ml of serum taken out of blood tube and put in separate tube. |  | 1.2478 |  | 0.05 | 10 | Lab Tech | 0.5 | 0.24777 | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary | 0.5 | 0.5 | 0.24777
5] 20ul pipetted into 96 well plate previously prepared as per James’ protocol (plate set up 30minutes) 41 patients per plate |  | 0.20488 |  | 0.5 | 10 | Lab Tech | 0.058537 | 0.02439 | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary | 0.12195 | 0.058537 | 0.02439
6] Presently we have two machines which run for only 12 hours per week doing their ‘normal work’ – so a lot of spare capacity in terms of time on machine
7] We don’t employ anyone just to run the ELISA machines as we are running multiple different/other machine types each day and it is just part of the normal working routine. Once the assay is running, we just leave it to do its thing and go off and do other tasks. Spare capacity at the moment is large.
#Patients
8] Each plate put on machine and run for approx. 120 minutes |  | 0.057845 | 41 | 2 |  |  |  | 0.37166 |  |  |  | 0.057845
9] Results generated and automatically transferred to lab computers and results published on computer system
10] GP or requestor access result and informs patient |  | 2.3295 |  | 0.25 | 9.318 | Hosp |  |  | NHS Reference Costs 2017-18 | 2.3295
Making the test plates for the machine above |  | Cost |  | Time | Cost/Hour | Staff | Consumables | Equipment | Reference
For all precise details of all reagents and volumes paper in the link below has it step by step but I will describe the process roughly here and can answer any questions. https://currentprotocols.onlinelibrary.wiley.com/doi/10.1002/cpmc.100
1] Make a stock of the two plasmids- to do this you transform bacteria, plate them on ampicillin resistant plates agar plates, pick colonies into LB broth, extract plasmid from bacteria using a midi/maxi prep kit. Once this is done you have enough plasmid to last a very long time. |  | 0.01 |  |  | 10 | Lab Tech | 0.01 | 0 | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
0.01
2] grow human cells (HEK293Fs) until you have at least 600million cells- transfect these with plasmids and give them 72hours to express the protein into the media. Each 600million cells is suspended in 200ml media. |  | 0.15989 |  |  | 10 | Lab Tech | 0.073171 | 0.086721 | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
[11 empty] | 0.073171 | 0.086721
3] Remove the media and isolate the protein from this media through gravity flow isolation method. The expected expression levels is reported as above 20 mg per L of RBD (plasmid 1) culture cells and expression of the full‐length spike protein (plasmid 2) to be approximately 4 mg per L |  | 0.04 |  |  | 10 | Lab Tech | 0.04 | 0 | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
0.04
4] Coat elisa plates in protein overnight. Protein is made up to 2ug/ul and 50ul is added per well of a 96 well plate. So if you got 2mg of protein that would make 1000ml of solution with 5ml needed per plate- so that would make 200plates (each plate is capable of doing 72 tests when control wells have been included on the 96 well plate) |  | 0 |  |  | 10 | Lab Tech | 0 | 0 | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
Performing Elisa |  | Costs |  | Time | Cost/Hour | Staff | Consumables | Equipment | Reference
1] Pre-coated ELISA plates will be washed 3 times with PBS-T, followed by a 1 hour incubation with 200 μL blocking solution (3% milk). |  | 0 |  |  | 10 | Lab Tech | 0 | 0 | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
2] Sterile 1x PBS (40 μL) will be added to sterile Eppendorf tubes followed by 10μL sample/control (1:5 dilution). In a blank 96-well microtitre plate (dilution plate) 180 μL PBS-T containing 1% milk powder (w/v) will be added to all wells followed by 20 μL of pre-diluted sample/control (final sample dilution of 1:50). |  | 6.0976e-05 |  |  | 10 | Lab Tech | 6.0976e-05 |  | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
6.0976e-05
3]The blocking solution will then be thoroughly removed from the ELISA plate before the diluted samples/controls added to the corresponding wells from the dilution plate. Following a 2 hour incubation at room temperature, the ELISA plate will then be washed three times with 100μL PBS-T |  | 0 |  |  | 10 | Lab Tech | 0 |  | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
4]Add 50 μL pre-prepared per well (1:3000 in PBS-T containing 1% milk powder) HRP-labelled anti-human, Fab specific IgG secondary antibody will be added to all wells and incubated for 1 hour (± 5 minutes) at room temperature. |  | 0.010163 |  |  | 10 | Lab Tech | 0.010163 |  | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
0.010163
5]After the incubation, the ELISA plate will be washed again three times with 100 μL PBS-T using a plate washer. |  | 0 |  |  | 10 | Lab Tech | 0 |  | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
6]Colour development will be achieved by incubating the ELISA plate with 100 μL pre-prepared OPD solution (prepared following manufacturer’s instructions). The colour development reaction will be stopped by adding 50 μL 3M hydrochloric acid to all wells, exactly 10 minutes after OPD solution was added to the first column of the ELISA plate. |  | 0.040488 |  |  | 10 | Lab Tech | 0.040488 |  | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
0.040488
7]The ELISA plate will then be read on a plate reader set at an absorbance of 490 nm and results recorded. |  | 0 |  |  | 10 | Lab Tech | 0 |  | https://www.payscale.com/research/UK/Job=Medical_%2F_Clinical_Laboratory_Technician/Salary
3.675
[10 empty] | Cost/Hour | Consumables | Equipment
| TOTAL COST | 13.6333 | [7 empty] | 9.4842 | 3.7324 | 0.41673
[10 empty] | 69.57% | 27.38% | 3.057%

## PSA
| PSA_Flag | 0 |  | Iterations | 1000
|  |  | Descriptive Hourly Cost | Probabilistic | Distribution | a | b | Active | Descriptive Consumables | Probabilistic | Distribution | a | b | Active | Descriptive (Equipment) | Probabilistic | Distribution | a | b | Instructions
1] Doctor or nurse generates computer blood test request |  | 3.675 | 3.675 | 3.8343 | Gamma | 3.675 | 1 | [12 empty] | Change time in Sheet "AntibodyTestCost" Cell L2 (in hours)
2] Patient books in for blood test with GP or hospital |  | 11.431 | 11.431 | 20.4478 | Gamma | 11.431 | 1 | [12 empty] | Change time in Sheet "AntibodyTestCost" Cell L3 (in hours)
3] 1 x 4ml serum gel tube of blood taken, labelled and sent to test centre (phlebotomist, needle, syringe, 5 minutes https://www.sarstedt.com/fileadmin/user_upload/Katalog/2019/45_200_catalogue_en_eu_eu_2019_2020_hp.pdf |  | 0 |  | #NUM! | Gamma | 0 | 1 | 3 | 3 | 4.2503 | Gamma | 3 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change cost in cell P5
4] Tubes received in test centre. Spun for 3 minutes and 2ml of serum taken out of blood tube and put in separate tube. |  | 10 | 10 | 12.2479 | Gamma | 10 | 1 | 0.5 | 0.5 | 0.00094366 | Gamma | 0.5 | 1 | 0.24777 | 0.24777 | 0.000151 | Gamma | 0.24777 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
5] 20ul pipetted into 96 well plate previously prepared as per James’ protocol (plate set up 30minutes) 41 patients per plate |  | 10 | 10 | 9.1663 | Gamma | 10 | 1 | 0.058537 | 0.058537 | 7.0622e-16 | Gamma | 0.058537 | 1 | 0.02439 | 0.02439 | 9.5097e-25 | Gamma | 0.02439 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
8] Each plate put on machine and run for approx. 120 minutes | [13 empty] | 0.37166 | 0.37166 | 0.29296 | Gamma | 0.37166 | 1 | Go to sheet "Equioment Cost" and change cost of machine in cell E9m lifespan of machine in F3 and year of project in D3
9] Results generated and automatically transferred to lab computers and results published on computer system
10] GP or requestor access result and informs patient |  | 9.318 | 9.318 | 7.9396 | Gamma | 9.318 | 1
1] Make a stock of the two plasmids- to do this you transform bacteria, plate them on ampicillin resistant plates agar plates, pick colonies into LB broth, extract plasmid from bacteria using a midi/maxi prep kit. Once this is done you have enough plasmid to last a very long time. |  | 10 | 10 | 12.1136 | Gamma | 10 | 1 | 0.01 | 0.01 | 1.2416e-82 | Gamma | 0.01 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
2] grow human cells (HEK293Fs) until you have at least 600million cells- transfect these with plasmids and give them 72hours to express the protein into the media. Each 600million cells is suspended in 200ml media. |  | 10 | 10 | 11.8453 | Gamma | 10 | 1 | 0.073171 | 0.073171 | 6.3492e-06 | Gamma | 0.073171 | 1 | 0.086721 | 0.086721 | 6.1432e-05 | Gamma | 0.086721 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
3] Remove the media and isolate the protein from this media through gravity flow isolation method. The expected expression levels is reported as above 20 mg per L of RBD (plasmid 1) culture cells and expression of the full‐length spike protein (plasmid 2) to be approximately 4 mg per L |  | 10 | 10 | 8.6559 | Gamma | 10 | 1 | 0.04 | 0.04 | 0.003823 | Gamma | 0.04 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
4] Coat elisa plates in protein overnight. Protein is made up to 2ug/ul and 50ul is added per well of a 96 well plate. So if you got 2mg of protein that would make 1000ml of solution with 5ml needed per plate- so that would make 200plates (each plate is capable of doing 72 tests when control wells have been included on the 96 well plate) |  | 10 | 10 | 9.0934 | Gamma | 10 | 1 | 0.005 | 0.005 | 2.1757e-146 | Gamma | 0.005 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
1] Pre-coated ELISA plates will be washed 3 times with PBS-T, followed by a 1 hour incubation with 200 μL blocking solution (3% milk). |  | 10 | 10 | 13.0379 | Gamma | 10 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
2] Sterile 1x PBS (40 μL) will be added to sterile Eppendorf tubes followed by 10μL sample/control (1:5 dilution). In a blank 96-well microtitre plate (dilution plate) 180 μL PBS-T containing 1% milk powder (w/v) will be added to all wells followed by 20 μL of pre-diluted sample/control (final sample dilution of 1:50). |  | 10 | 10 | 5.6541 | Gamma | 10 | 1 | 6.0976e-05 | 6.0976e-05 | 0 | Gamma | 6.0976e-05 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
3]The blocking solution will then be thoroughly removed from the ELISA plate before the diluted samples/controls added to the corresponding wells from the dilution plate. Following a 2 hour incubation at room temperature, the ELISA plate will then be washed three times with 100μL PBS-T |  | 10 | 10 | 11.2406 | Gamma | 10 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
4]Add 50 μL pre-prepared per well (1:3000 in PBS-T containing 1% milk powder) HRP-labelled anti-human, Fab specific IgG secondary antibody will be added to all wells and incubated for 1 hour (± 5 minutes) at room temperature. |  | 10 | 10 | 14.0003 | Gamma | 10 | 1 | 0.010163 | 0.010163 | #NUM! | Gamma | 0.010163 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
5]After the incubation, the ELISA plate will be washed again three times with 100 μL PBS-T using a plate washer. |  | 10 | 10 | 7.909 | Gamma | 10 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
6]Colour development will be achieved by incubating the ELISA plate with 100 μL pre-prepared OPD solution (prepared following manufacturer’s instructions). The colour development reaction will be stopped by adding 50 μL 3M hydrochloric acid to all wells, exactly 10 minutes after OPD solution was added to the first column of the ELISA plate. |  | 10 | 10 | 12.3 | Gamma | 10 | 1 | 0.040488 | 0.040488 | 3.8605e-06 | Gamma | 0.040488 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V
7]The ELISA plate will then be read on a plate reader set at an absorbance of 490 nm and results recorded. |  | 10 | 10 | 7.7992 | Gamma | 10 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | 0 |  | #NUM! | Gamma | 0 | 1 | Change hourly cost in collum J, consumables cost per test in collumn P and equipment cost in collumn V

## Output
Exp cost
MEAN | 13.3031
L95CI | 9.6263
U95CI | 18.4049
Iterations | cost per test
1 | 13.7609
2 | 22.8049
3 | 12.2351
4 | 10.4073
5 | 15.2324
6 | 11.9081
7 | 17.8721
8 | 12.5171
9 | 14.5223
10 | 12.7946
11 | 14.1276
12 | 11.771
13 | 13.8772
14 | 10.9808
15 | 13.4574
16 | 20.4019
17 | 14.0077
18 | 10.679
19 | 14.0655
20 | 14.279
21 | 13.2662
22 | 15.8524
23 | 14.1531
24 | 12.1598
25 | 12.3012
26 | 12.6569
27 | 16.907
28 | 14.9087
29 | 12.1797
30 | 13.1287
31 | 17.5163
32 | 17.4374
33 | 19.0947
34 | 12.6283
35 | 12.7494
36 | 16.5054
37 | 12.0243
38 | 9.8632
39 | 14.1909
40 | 12.6085
41 | 11.3289
42 | 14.8179
43 | 15.143
44 | 14.6116
45 | 11.7747
46 | 17.8593
47 | 14.0558
48 | 10.6229
49 | 13.5478
50 | 15.7766
51 | 12.971
52 | 10.4934
53 | 11.879
54 | 13.7404
55 | 12.506
56 | 14.2205
57 | 14.3377
58 | 14.1724
59 | 17.376
60 | 9.9568
61 | 13.0987
62 | 15.0863
63 | 15.3894
64 | 11.748
65 | 13.9027
66 | 13.7368
67 | 11.3474
68 | 14.2253
69 | 14.3295
70 | 13.8669
71 | 12.6715
72 | 12.5403
73 | 12.9698
74 | 10.5085
75 | 13.7412
76 | 15.0624
77 | 12.2209
78 | 13.0366
79 | 10.8428
80 | 13.5982
81 | 15.3976
82 | 14.725
83 | 14.7952
84 | 14.1308
85 | 16.6953
86 | 18.4021
87 | 13.4536
88 | 13.2134
89 | 11.9017
90 | 18.2688
91 | 14.0337
92 | 11.7849
93 | 13.3978
94 | 14.7358
95 | 13.9688
96 | 11.0342
97 | 17.5716
98 | 9.7887
99 | 14.022
100 | 11.8386
101 | 11.3139
102 | 14.1886
103 | 15.981
104 | 16.861
105 | 12.6902
106 | 12.557
107 | 12.2182
108 | 12.564
109 | 11.7995
110 | 15.9974
111 | 11.0015
112 | 18.6113
113 | 11.3451
114 | 10.245
115 | 10.7245
116 | 13.4496
117 | 11.6582
118 | 13.511
119 | 14.7841
120 | 11.425
121 | 11.593
122 | 12.154
123 | 11.321
124 | 10.469
125 | 20.2938
126 | 13.6571
127 | 9.8419
128 | 14.9618
129 | 17.1285
130 | 11.5399
131 | 18.6625
132 | 10.4537
133 | 10.964
134 | 11.27
135 | 12.7473
136 | 17.4612
137 | 15.1027
138 | 11.9749
139 | 12.9573
140 | 14.6483
141 | 11.6866
142 | 11.9788
143 | 9.5244
144 | 12.6243
145 | 13.4643
146 | 12.5678
147 | 12.9684
148 | 19.2655
149 | 12.2948
150 | 16.2993
151 | 17.5521
152 | 12.9588
153 | 15.492
154 | 15.3992
155 | 15.6755
156 | 16.1528
157 | 12.9483
158 | 11.3581
159 | 15.1873
160 | 12.8764
161 | 15.4361
162 | 13.7902
163 | 15.7056
164 | 12.3146
165 | 12.9951
166 | 12.2325
167 | 12.1006
168 | 12.794
169 | 14.5665
170 | 10.7828
171 | 9.1343
172 | 17.0394
173 | 19.4672
174 | 11.8114
175 | 10.7024
176 | 15.543
177 | 11.288
178 | 13.8955
179 | 12.9549
180 | 14.8423
181 | 13.2881
182 | 16.6152
183 | 9.7831
184 | 13.4525
185 | 16.8153
186 | 12.3105
187 | 12.1861
188 | 16.537
189 | 14.3345
190 | 14.7737
191 | 14.2544
192 | 16.8392
193 | 19.7275
194 | 10.2769
195 | 14.6686
196 | 11.0154
197 | 10.6764
198 | 11.2576
199 | 10.449
200 | 13.0375
201 | 13.1833
202 | 18.9021
203 | 11.4923
204 | 13.0605
205 | 16.0591
206 | 13.1649
207 | 17.6054
208 | 15.5534
209 | 9.4014
210 | 12.212
211 | 11.817
212 | 10.869
213 | 11.8044
214 | 12.376
215 | 15.4377
216 | 13.5413
217 | 12.8776
218 | 14.4387
219 | 12.181
220 | 11.4299
221 | 16.12
222 | 16.2839
223 | 12.7725
224 | 11.1728
225 | 12.8437
226 | 11.5884
227 | 13.9998
228 | 13.8432
229 | 12.5323
230 | 12.9276
231 | 12.0306
232 | 10.4115
233 | 12.704
234 | 12.3981
235 | 14.6197
236 | 13.1686
237 | 12.523
238 | 17.308
239 | 14.3219
240 | 14.0121
241 | 10.9888
242 | 13.3044
243 | 10.9124
244 | 12.0765
245 | 11.0855
246 | 14.6265
247 | 10.5253
248 | 12.2837
249 | 9.859
250 | 16.6349
251 | 11.5948
252 | 10.3696
253 | 16.764
254 | 11.6885
255 | 13.6846
256 | 15.0707
257 | 11.95
258 | 13.9232
259 | 12.5234
260 | 15.6824
261 | 13.5028
262 | 19.219
263 | 14.8245
264 | 13.8675
265 | 11.671
266 | 12.9667
267 | 15.2976
268 | 11.0969
269 | 16.3571
270 | 13.277
271 | 13.6505
272 | 8.9221
273 | 12.7859
274 | 13.3917
275 | 13.7423
276 | 13.4897
277 | 15.8643
278 | 10.7752
279 | 14.6787
280 | 13.3092
281 | 14.937
282 | 12.2249
283 | 10.6797
284 | 12.6514
285 | 14.4214
286 | 17.0017
287 | 14.8954
288 | 13.7751
289 | 13.546
290 | 17.2062
291 | 11.1509
292 | 13.4867
293 | 11.9877
294 | 10.8223
295 | 15.1742
296 | 10.9056
297 | 11.8611
298 | 12.6257
299 | 15.1478
300 | 11.3205
301 | 15.7069
302 | 13.7755
303 | 13.3227
304 | 12.2722
305 | 10.0108
306 | 13.9935
307 | 15.6775
308 | 11.1664
309 | 13.0707
310 | 11.2306
311 | 10.8256
312 | 15.0903
313 | 13.6382
314 | 11.3886
315 | 10.2641
316 | 11.6743
317 | 12.2966
318 | 14.4195
319 | 15.7275
320 | 11.6973
321 | 15.9038
322 | 14.1657
323 | 16.1578
324 | 14.7247
325 | 11.877
326 | 11.7976
327 | 10.683
328 | 14.4996
329 | 14.6598
330 | 13.1977
331 | 9.9426
332 | 13.1904
333 | 13.7993
334 | 12.1327
335 | 12.1426
336 | 14.1818
337 | 10.2558
338 | 12.4597
339 | 10.1231
340 | 17.9742
341 | 14.0238
342 | 14.7228
343 | 14.9856
344 | 11.7677
345 | 17.5792
346 | 13.3492
347 | 12.9942
348 | 9.6723
349 | 12.1055
350 | 13.1191
351 | 13.6353
352 | 13.3146
353 | 12.9354
354 | 11.9203
355 | 12.0145
356 | 12.2124
357 | 11.2804
358 | 17.3937
359 | 16.2941
360 | 13.1492
361 | 12.5969
362 | 13.1255
363 | 13.0491
364 | 14.8155
365 | 14.9603
366 | 15.0569
367 | 11.3365
368 | 16.1386
369 | 12.5485
370 | 14.1717
371 | 12.9092
372 | 13.8476
373 | 13.3544
374 | 15.428
375 | 16.9425
376 | 19.0131
377 | 13.7513
378 | 13.8893
379 | 13.4792
380 | 12.6515
381 | 15.0712
382 | 17.497
383 | 13.6664
384 | 15.8582
385 | 13.5201
386 | 9.957
387 | 17.3467
388 | 14.8655
389 | 15.7904
390 | 9.6264
391 | 14.5511
392 | 11.7513
393 | 13.9844
394 | 16.3603
395 | 10.4888
396 | 12.0627
397 | 17.0836
398 | 13.999
399 | 12.8177
400 | 11.5301
401 | 12.755
402 | 9.288
403 | 16.1331
404 | 19.46
405 | 11.0412
406 | 15.8917
407 | 10.7568
408 | 12.9505
409 | 18.4585
410 | 13.286
411 | 12.1206
412 | 10.2902
413 | 11.3166
414 | 11.0789
415 | 15.6109
416 | 14.1148
417 | 14.7809
418 | 12.9902
419 | 10.5271
420 | 9.3218
421 | 11.5028
422 | 10.686
423 | 12.064
424 | 16.4787
425 | 12.2173
426 | 13.1977
427 | 16.3936
428 | 11.4853
429 | 9.7045
430 | 16.1059
431 | 11.201
432 | 14.1072
433 | 13.5094
434 | 13.6269
435 | 11.171
436 | 11.7681
437 | 17.6436
438 | 13.3783
439 | 12.7159
440 | 9.3253
441 | 14.0771
442 | 18.005
443 | 16.6706
444 | 13.566
445 | 10.5663
446 | 20.0855
447 | 13.3929
448 | 11.2259
449 | 14.5027
450 | 13.9958
451 | 10.2971
452 | 12.6093
453 | 12.65
454 | 12.9559
455 | 12.5708
456 | 14.4054
457 | 18.0064
458 | 9.6245
459 | 16.2616
460 | 11.732
461 | 16.9146
462 | 18.0848
463 | 12.0157
464 | 10.3473
465 | 16.4829
466 | 16.1464
467 | 14.2277
468 | 14.2328
469 | 13.0177
470 | 10.7189
471 | 10.8274
472 | 13.2707
473 | 10.4372
474 | 16.2203
475 | 14.3494
476 | 15.4731
477 | 17.3095
478 | 12.8648
479 | 12.2594
480 | 10.4553
481 | 10.5949
482 | 14.8531
483 | 17.5277
484 | 11.8815
485 | 15.9771
486 | 10.2911
487 | 8.2789
488 | 11.8445
489 | 14.385
490 | 12.1718
491 | 12.3095
492 | 9.7855
493 | 12.8225
494 | 12.9421
495 | 12.9581
496 | 14.617
497 | 9.4625
498 | 15.1576
499 | 10.4863
500 | 15.3354
501 | 13.0719
502 | 14.32
503 | 12.0429
504 | 10.7551
505 | 11.1935
506 | 11.9265
507 | 16.4177
508 | 14.7769
509 | 11.0894
510 | 13.6935
511 | 10.729
512 | 12.2329
513 | 11.6959
514 | 11.1417
515 | 11.261
516 | 13.3429
517 | 12.6973
518 | 10.2836
519 | 14.4582
520 | 19.2945
521 | 16.4436
522 | 11.1197
523 | 14.0382
524 | 18.6333
525 | 12.177
526 | 16.7409
527 | 11.7854
528 | 12.259
529 | 10.9726
530 | 13.9542
531 | 17.0413
532 | 12.6531
533 | 15.3803
534 | 11.5527
535 | 14.6586
536 | 10.5717
537 | 15.4181
538 | 15.4214
539 | 13.2605
540 | 16.33
541 | 13.9249
542 | 15.2113
543 | 10.7273
544 | 13.9095
545 | 10.6753
546 | 9.9608
547 | 11.8924
548 | 16.1471
549 | 13.5553
550 | 13.0698
551 | 13.7627
552 | 9.8576
553 | 13.9878
554 | 14.3625
555 | 10.2417
556 | 9.6399
557 | 10.4779
558 | 10.8493
559 | 11.4852
560 | 10.6102
561 | 12.7118
562 | 15.454
563 | 13.3177
564 | 16.0968
565 | 11.3074
566 | 9.911
567 | 12.8609
568 | 14.4603
569 | 13.5078
570 | 10.0591
571 | 15.5624
572 | 14.418
573 | 16.8456
574 | 10.5004
575 | 9.7343
576 | 17.8119
577 | 11.6506
578 | 15.2928
579 | 10.2947
580 | 14.4646
581 | 12.195
582 | 11.9811
583 | 10.1566
584 | 13.3304
585 | 11.5261
586 | 12.4682
587 | 13.7505
588 | 13.3298
589 | 13.8316
590 | 18.2329
591 | 16.0939
592 | 12.4004
593 | 11.3412
594 | 13.5937
595 | 11.2348
596 | 12.9197
597 | 9.4393
598 | 10.5938
599 | 12.4151
600 | 15.9601
601 | 17.368
602 | 14.4274
603 | 13.923
604 | 15.3289
605 | 15.5256
606 | 12.8092
607 | 12.1044
608 | 14.4807
609 | 10.7424
610 | 11.8499
611 | 11.099
612 | 14.195
613 | 11.5545
614 | 13.7661
615 | 12.5318
616 | 13.1979
617 | 11.6272
618 | 9.492
619 | 9.1156
620 | 11.2599
621 | 14.485
622 | 10.7336
623 | 10.7893
624 | 15.3495
625 | 18.3616
626 | 9.8488
627 | 9.6928
628 | 10.2699
629 | 13.2
630 | 19.0338
631 | 17.143
632 | 13.8955
633 | 14.1984
634 | 11.1095
635 | 17.4133
636 | 13.3403
637 | 12.5764
638 | 15.0758
639 | 9.0249
640 | 12.653
641 | 18.3466
642 | 14.6613
643 | 13.3368
644 | 10.2471
645 | 10.1396
646 | 13.2016
647 | 14.2017
648 | 11.1208
649 | 14.0547
650 | 12.7535
651 | 14.3677
652 | 11.6772
653 | 18.1929
654 | 11.5743
655 | 11.2563
656 | 10.7814
657 | 15.2744
658 | 12.0779
659 | 10.4361
660 | 14.5606
661 | 12.8074
662 | 13.7159
663 | 12.6541
664 | 9.801
665 | 10.6847
666 | 15.491
667 | 12.3351
668 | 10.4128
669 | 9.5615
670 | 10.7652
671 | 13.325
672 | 17.8056
673 | 10.3096
674 | 14.5013
675 | 16.95
676 | 14.0724
677 | 11.2243
678 | 15.5636
679 | 12.5914
680 | 13.6213
681 | 13.3015
682 | 14.7186
683 | 15.2475
684 | 13.8276
685 | 15.4632
686 | 13.1374
687 | 10.891
688 | 11.2909
689 | 13.3116
690 | 13.1247
691 | 11.3722
692 | 16.7659
693 | 9.378
694 | 12.7257
695 | 15.6828
696 | 10.383
697 | 14.4062
698 | 14.5941
699 | 15.73
700 | 15.8397
701 | 10.2729
702 | 9.1574
703 | 10.8583
704 | 12.4374
705 | 12.4428
706 | 11.0294
707 | 11.3116
708 | 13.8982
709 | 11.8176
710 | 12.6254
711 | 12.2652
712 | 11.6391
713 | 17.2567
714 | 16.1147
715 | 13.0222
716 | 15.3881
717 | 12.8559
718 | 13.3554
719 | 11.3267
720 | 11.6363
721 | 14.2517
722 | 12.2755
723 | 14.2975
724 | 12.8629
725 | 14.3124
726 | 12.0482
727 | 13.2678
728 | 14.1716
729 | 12.0016
730 | 10.128
731 | 13.4552
732 | 20.9167
733 | 9.3749
734 | 11.6813
735 | 16.313
736 | 13.4421
737 | 10.8707
738 | 11.0864
739 | 12.5282
740 | 11.5918
741 | 12.9883
742 | 13.1619
743 | 10.537
744 | 16.6978
745 | 11.8844
746 | 15.4202
747 | 13.094
748 | 9.605
749 | 11.3192
750 | 12.1528
751 | 14.4407
752 | 13.649
753 | 11.3692
754 | 12.0903
755 | 11.0601
756 | 10.62
757 | 12.5215
758 | 11.2676
759 | 12.8065
760 | 13.1781
761 | 13.1571
762 | 16.319
763 | 16.7583
764 | 19.2928
765 | 11.935
766 | 17.2679
767 | 13.8787
768 | 13.3018
769 | 12.2411
770 | 10.594
771 | 12.0748
772 | 14.2287
773 | 18.8795
774 | 12.9971
775 | 14.1905
776 | 11.022
777 | 11.3124
778 | 17.301
779 | 10.7582
780 | 15.4144
781 | 13.8294
782 | 11.8805
783 | 13.7055
784 | 15.0065
785 | 10.8236
786 | 11.1128
787 | 18.0294
788 | 14.7783
789 | 12.1923
790 | 14.4005
791 | 13.6497
792 | 12.0846
793 | 20.5256
794 | 11.1814
795 | 14.2497
796 | 13.24
797 | 12.4185
798 | 9.2714
799 | 14.0049
800 | 15.2564
801 | 15.3132
802 | 11.3713
803 | 12.9128
804 | 15.5005
805 | 13.3329
806 | 15.7088
807 | 15.0884
808 | 14.6383
809 | 12.401
810 | 12.9712
811 | 16.4349
812 | 16.1419
813 | 10.5351
814 | 10.7779
815 | 13.9216
816 | 12.7207
817 | 14.2287
818 | 12.1748
819 | 17.2451
820 | 11.4088
821 | 17.8722
822 | 13.2491
823 | 16.183
824 | 13.2095
825 | 12.7898
826 | 11.5982
827 | 14.0568
828 | 12.3397
829 | 10.9187
830 | 16.7846
831 | 11.5714
832 | 9.9875
833 | 11.9182
834 | 16.4371
835 | 12.1802
836 | 12.4545
837 | 11.2173
838 | 11.7636
839 | 11.8678
840 | 12.761
841 | 11.2604
842 | 14.7122
843 | 11.9927
844 | 15.6818
845 | 14.3323
846 | 14.3869
847 | 15.1489
848 | 9.5791
849 | 11.0822
850 | 13.3434
851 | 13.7684
852 | 15.0087
853 | 17.0611
854 | 11.0496
855 | 9.5834
856 | 14.8593
857 | 11.4011
858 | 16.6481
859 | 13.9093
860 | 14.6678
861 | 11.6964
862 | 13.8361
863 | 13.0147
864 | 11.2611
865 | 12.2629
866 | 10.5723
867 | 10.8547
868 | 13.4121
869 | 12.5552
870 | 12.5765
871 | 12.4514
872 | 18.2403
873 | 11.8532
874 | 16.0911
875 | 10.1423
876 | 12.5556
877 | 13.9322
878 | 15.4406
879 | 11.7618
880 | 12.3417
881 | 13.0817
882 | 13.466
883 | 10.427
884 | 9.3597
885 | 14.4209
886 | 12.7987
887 | 17.2975
888 | 11.6896
889 | 13.3495
890 | 12.3774
891 | 15.356
892 | 13.5139
893 | 15.1061
894 | 22.0706
895 | 10.682
896 | 9.1048
897 | 12.2859
898 | 15.2321
899 | 11.1017
900 | 12.1071
901 | 15.5462
902 | 11.9322
903 | 12.8161
904 | 13.7565
905 | 13.5974
906 | 10.7907
907 | 12.3821
908 | 15.553
909 | 13.706
910 | 13.1723
911 | 11.2785
912 | 12.9604
913 | 12.3571
914 | 13.0205
915 | 9.8625
916 | 10.2448
917 | 13.4041
918 | 9.6433
919 | 11.1288
920 | 15.9024
921 | 15.174
922 | 19.5723
923 | 10.2495
924 | 11.7767
925 | 11.7885
926 | 12.0229
927 | 10.5899
928 | 10.6636
929 | 13.3706
930 | 10.8761
931 | 14.2345
932 | 13.9214
933 | 11.6892
934 | 12.4313
935 | 17.0592
936 | 14.4139
937 | 14.305
938 | 12.8183
939 | 14.4476
940 | 14.629
941 | 12.2528
942 | 12.1044
943 | 21.015
944 | 10.0514
945 | 12.4167
946 | 11.9958
947 | 12.6743
948 | 14.4536
949 | 14.7614
950 | 11.4174
951 | 11.3585
952 | 12.207
953 | 12.3492
954 | 12.4795
955 | 13.8157
956 | 12.1352
957 | 14.3668
958 | 14.1748
959 | 13.0625
960 | 13.4158
961 | 12.5744
962 | 14.7947
963 | 13.0138
964 | 10.233
965 | 12.6803
966 | 12.768
967 | 12.6449
968 | 14.0636
969 | 9.7635
970 | 12.8134
971 | 14.0967
972 | 12.4029
973 | 15.0045
974 | 14.6677
975 | 13.4253
976 | 13.5006
977 | 12.3053
978 | 16.846
979 | 13.3727
980 | 10.8043
981 | 9.8885
982 | 14.8204
983 | 14.8564
984 | 12.2275
985 | 15.4115
986 | 13.455
987 | 11.2418
988 | 14.5163
989 | 10.4026
990 | 12.3747
991 | 9.5673
992 | 12.6989
993 | 13.5905
994 | 13.1133
995 | 12.881
996 | 16.2528
997 | 13.6673
998 | 11.3469
999 | 11.9096
1000 | 11.1593
PSA

## Equipment Cost
Elisa Machine
Yearly cost | Year of project |  | total lifespan |  | Instructions
14400 | 1 |  | 5 |  | * set the equipments lifespan in "total lifespan"
* set cost of equipement in E9
* use dropdown list in D3 to set the Year of project
Cost per Test | 0.37166
20%
Year | Depreciation | Cost
0 | 0 | 15000 |  | 1890
1 | 600 | 14400 |  | 113400
2 | 576 | 13824 |  | 0.1058%
3 | 552.96 | 13271.04 |  | 2.581e-05
4 | 530.8416 | 12740.1984
5 | 509.6079 | 12230.5905
Centrifuge
Yearly cost | Year of project |  | total lifespan
9600 | 1 |  | 5
Cost per Test | 0.24777
20%
Year | Depreciation | Cost
0 | 0 | 10000 |  | 1890
1 | 400 | 9600 |  | 113400
2 | 384 | 9216 |  | 0.1058%
3 | 368.64 | 8847.36 |  | 2.581e-05
4 | 353.8944 | 8493.4656
5 | 339.7386 | 8153.727
Incubator and flow hood
Yearly cost | Year of project |  | total lifespan
3360 | 1 |  | 5
Cost per Test | 0.086721
20%
Year | Depreciation | Cost
0 | 0 | 3500 |  | 1890
1 | 140 | 3360 |  | 113400
2 | 134.4 | 3225.6 |  | 0.1058%
3 | 129.024 | 3096.576 |  | 2.581e-05
4 | 123.863 | 2972.713
5 | 118.9085 | 2853.8044

## Staff Cost
Primary Care costs per use
Primary Care Specialty | Direct Costs Inclusion | Qualification | Hourly Compensation |  | Total Time (Minutes) | Total
GP consultation | Excluding direct care staff costs | With Qualification | 219 |  | 0 | 0
Nurse cosultation | Excluding direct care staff costs | - | 197.73 |  | 15 | 49.4325
Other Costs | Cost | Total |  | GP Face to Face consultations per patient |  | 71.96%
Other 1 | 0 | 0
Other 2 | 0 |  |  | Nurse Face to Face consultations per patient |  | 28.54% | Grand Total
Other 3 | 0 | [5 empty] | 49.4325
Secondary Care costs per use
Secondary Care Specialty | Band/Pay Scale | Hourly Compensation Range | Hourly Compensation |  | Total Time (Minutes) | Total
Nurse | Band 5 | Highest | 14.7 |  | 15 | 3.675
Specialty Regist rar (StR) | 3 | - | 19.4538 |  | 0 | 0
Doctor | 10 | - | 38.2877 |  | 0 | 0
Associate Specialist | 9 | - | 45.9503 |  | 0 | 0
Consultant | 8 | - | 55.2144 |  | 0 | 0
Administrative and Clerical Staff | - | - | 9.318 |  | 0
Grabd Total
Other Costs | Cost | Total |  |  |  |  | 3.675
Other 1 | 0 | 0
Other 2 | 0
Other 3 | 0

## NHS Personel Costs
| Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. | [11 empty] | Specialty Doctor pay scale | [5 empty] | Specialty Consultant pay scale
Nurse | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Band 6 | Band 7 | Band 8A | Band 8B | Band 8C | Band 8D | Band 9 | Pays Scale Value |  | Yearly Payment |  |  | Hourly Rate | Pays Scale Value | Yearly Payment |  | Hourly Rate
| 7.88 | 7.88 | 8.68 | 9.93 | 11.32 | 13.59 | 16.21 | 20.67 | 24.08 | 28.98 | 34.39 | 40.62 | Min |  | 40037 |  |  | 20.5318 | Min | 79860 |  | 40.9538
| 8.01 | 8.01 | 8.96 | 10.15 | 11.6 | 14.13 | 16.74 | 21.37 | 24.81 | 29.77 | 35.38 | 42.58 | 1 |  | 43460 |  |  | 22.2872 | 1 | 82361 |  | 42.2364
|  | 8.24 | 9.28 | 10.51 | 12.07 | 14.7 | 17.34 | 22.23 | 26.07 | 30.79 | 36.85 | 44.62 | 2 |  | 47911 |  |  | 24.5697 | 2 | 84862 |  | 43.519
|  | 8.46 | 9.38 | 10.87 | 12.55 | 15.15 | 18.2 | 23.09 | 27.52 | 32.23 | 38.65 | 46.77 | 3 |  | 50296 |  |  | 25.7928 | 3 | 87362 |  | 44.801
|  | 8.68 | 9.64 | 11.21 | 13.07 | 15.68 | 18.72 | 24.08 | 28.98 | 34.39 | 40.62 | 49.01 | 4 |  | 53733 |  |  | 27.5554 | 4 | 89856 |  | 46.08
|  | 8.96 | 9.93 | 11.32 | 13.59 | 16.21 | 19.32 | 24.81 | 29.77 | 35.38 | 42.58 | 51.36 | 5 |  | 57156 |  |  | 29.3108 | 5 | 89856 |  | 46.08
| Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 2: 9.29; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: 10.15; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 4: 11.6; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 14.13; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 6: 16.74; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 7: 19.98 | 6 |  | 60656 |  |  | 31.1056 | 6 | 95795 |  | 49.1256
| Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 14.7; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 6: 17.34; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 7: 20.68 | 7 |  | 64158 |  |  | 32.9015 | 7 | 101735 |  | 52.1718
| Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 6: 18.2; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 7: 21.37 | 8 |  | 67659 |  |  | 34.6969 | 8 | 107668 |  | 55.2144
Average | 7.945 | 8.5029 | 9.4314 | 10.7986 | 12.8788 | 15.7489 | 18.7289 | 22.7083 | 26.8717 | 31.9233 | 38.0783 | 45.8267 | 9 |  | 71159 |  |  | 36.4918 | Reference: Pay and Conditions Circular (M&D) 1/2019
[13 empty] | 10 |  | 74661 |  |  | 38.2877
Reference: Royal College of Nursing /Employment and Pay/NHS pay scales 2017-18 | [12 empty] | Reference: Pay and Conditions Circular (M&D) 1/2019
[13 empty] | Specialty Associate Specialist pay scale | [5 empty] | GP practice Costs
Doctors in Training Basic Pay
[13 empty] | Pay Scale Value |  | Yearly Payment |  |  | Hourly Rate | Including direct care staff costs |  | Excluding direct care staff costs
Grade | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: Nodal point; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: Yearly Payment; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 7: Hourly Rate | Min |  | 56133 |  |  | 28.7862 | With qualification Costs | Without qualification Costs | With qualification Costs |  | Without qualification Costs
Foundation Doctor Year 1 | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: 1; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 27689; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 7: 14.1995 | 1 |  | 60646 |  |  | 31.1005
Foundation Doctor Year 2 | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: 2; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 32050; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 7: 16.4359 | 2 |  | 65157 |  |  | 33.4138 | Per hour of patient contact
Specialty Regist rar (StR) | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: 3; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 37935; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 7: 19.4538 | 3 |  | 71115 |  |  | 36.4692 | 243 | 204 | 219 |  | 181
| Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: 4; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 48075; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 7: 24.6538 | 4 |  | 76279 |  |  | 39.1174 | Per minute of patient contact
Reference: Pay and Conditions Circular (M&D) 1/2017 | [12 empty] | 5 |  | 78421 |  |  | 40.2159 | 4.05 | 3.4 | 3.65 |  | 3.0167
Administrative and Clerical Staff | [12 empty] | 6 |  | 81216 |  |  | 41.6492 | Reference: Curtis & Burns, 2018
[13 empty] | 7 |  | 84012 |  |  | 43.0831
GP Practice | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: Per Year; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: Hourly Rate | 8 |  | 86807 |  |  | 44.5164 | Unit costs by point of delivery
| Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: 33287; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 11.431 | 9 |  | 89603 |  |  | 45.9503
Hospital | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 3: 27134; Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 9.318 | 10 |  | 92401 |  |  | 47.3851 | Day case |  | 742
[13 empty] | Reference: Pay and Conditions Circular (M&D) 1/2019 | [5 empty] | Elective inpatient (excluding excess bed days) |  | 3894
Reference: Curtis & Burns, 2016 | [18 empty] | Non-elective inpatient (excluding excess bed days) |  | 1603
[14 empty] | Band 8a pharmacist |  | 38851 | 19.9236 |  | Excess bed day |  | 346
Event/Resource | [18 empty] | Outpatientattendance |  | 125
GP visit | [18 empty] | A&E attendance |  | 160
Ambulance call-out | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 252 | [6 empty] | Reference: Department of Health. NHS Reference Costs 2017-18
A&E attendance – no admission | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 100.53
A&E attendance - admission | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 90.29
GP visit | Pay scales for NHS nursing staff in England, Wales, Scotland and Northern Ireland from 1 April 2017. Band 5: 36
Reference: Department of Health. NHS Reference Costs 2017-18