**Supplementary materials**

1. **Method for detection of SARS-CoV-2 viral neutralization titer**
   1. All procedures were performed in a biosafety level-3 laboratory (BSL-3).
   2. Vero-E6 cell monolayers were rinsed with 0.25% trypsin. The cell suspension with 1 × 104 – 2 × 104 cells/100 μL was added to a 96-well plate and cultured for 2–3 days to form monolayers.
   3. Serum samples were inactivated at 56°C for 30 min and diluted fourfold in cell culture maintenance medium (MM) within the wells of the microtiter plate, each well containing 120 μL diluted serum.
   4. A solution of SARS-CoV-2 viral strain (Gisaid No. EPI\_ISL\_403934)20SF014/vero-E6/3) with a titer of 104.67 TCID50/50 μL was diluted to 100 TCID50/50 μL. 120 μL of diluted sample was added to the wells containing serum. After gently blending, the plates were incubated at 37°C with 5% CO2 for 2 h.
   5. 100 μL of the diluted serum and virus sample mixture was added to each well containing Vero-E6 cell monolayers, in duplicate, for each serum dilution. Four wells containing only cells were used as negative controls. After the addition of 100 μL cell culture MM, the micro-plates were covered and placed in an incubator at 37°C with 5% CO2.
   6. After 5–7 days, once the complete cytopathogenic effect (CPE) was observed for the positive control of 100 TCID50/50 μL, the highest dilution with >50% of the positive well was defined as the SARS-CoV-2 viral neutralization titer. The highest dilutions with titers above 1:4 were considered positive.

TCID：viral tissue culture infectious dose.

1. **Tables**

Table S1 Correlation between T/C ratios and neutralizing titers.

|  |  |  |  |
| --- | --- | --- | --- |
| Sample size | Neutralizing titer | MEAN of T/C | SD of T/C |
| 14 | 1:4 | 0.961 | 0.679 |
| 46 | 1:8 | 1.166 | 0.846 |
| 54 | 1:16 | 1.901 | 1.073 |
| 140 | 1:32 | 2.735 | 1.860 |
| 75 | 1:64 | 4.062 | 2.450 |
| 103 | 1:128 | 5.019 | 2.941 |
| 40 | 1:256 | 5.917 | 3.335 |
| 33 | 1:512 | 7.230 | 2.936 |
| 14 | 1:1024 | 8.345 | 4.539 |
| Total：519 |  |  |  |

Table S2 Correlation between T/C ratios and re-positive rates

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Neutralizing titer | 1:4 | 1:8 | 1:16 | 1:32 | 1:64 | 1:128 | 1:256 | 1:512 | 1:1024 |
| NRP cases | 9 | 20 | 32 | 42 | 31 | 41 | 22 | 8 | 8 |
| RP cases | 6 | 12 | 12 | 35 | 10 | 16 | 5 | 3 | 0 |
| Total | 15 | 32 | 44 | 77 | 41 | 57 | 27 | 11 | 8 |
| RP rate | 40% | 38% | 27% | 45% | 24% | 28% | 19% | 27% | 0% |
| Mean of T/C ratio | 0.738 | 1.246 | 1.960 | 3.287 | **4.380** | 5.546 | 6.204 | 6.339 | 9.689 |
| SD of T/C ratio | 0.509 | 0.914 | 1.143 | 2.102 | **2.677** | 3.033 | 3.710 | 1.414 | 5.730 |

Note SD: Standard deviation

Table S3 Correlation between T/C ratios and accumulated re-positive (ARP) rates

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Neutralizing titer | Accumulated NRP cases (a) | ARP cases (b) | Cases included (a+b) | ARP rate (b/a+b) | Cases in proportion  ((a+b）/312） | MEAN of T/C ratio | SD of T/C ratio |
| ≥1:4 | 213 | 99 | 312 | 32% | 100% | 0.738 | 0.509 |
| ≥1:8 | 204 | 93 | 297 | 31% | 95% | 1.246 | 0.914 |
| ≥1:16 | 184 | 81 | 265 | 31% | 85% | 1.960 | 1.143 |
| ≥1:32 | 152 | 69 | 221 | 31% | 71% | 3.287 | 2.102 |
| ≥1:64 | 110 | 34 | 144 | 24% | 46% | 4.380 | 2.677 |
| ≥1:128 | 79 | 24 | 103 | 23% | 33% | 5.546 | 3.033 |
| ≥1:256 | 38 | 8 | 46 | 17% | 15% | 6.204 | 3.710 |
| ≥1:512 | 16 | 3 | 19 | 16% | 6% | 6.339 | 1.414 |
| ≥1:1024 | 8 | 0 | 8 | 0% | 3% | 9.689 | 5.730 |

Note SD: Standard deviation

Table S4 Correlation between T/C ratios and protection rates against re-positive (RP)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Neutralizing titer | Total – Accumulated RP | Protection rate | MEAN of T/C ratio | SD of T/C ratio |
| ≥1:4 | 213 | 0.68 | 0.738 | 0.509 |
| ≥1:8 | 219 | 0.7 | 1.246 | 0.914 |
| ≥1:16 | 231 | 0.74 | 1.96 | 1.143 |
| ≥1:32 | 243 | 0.78 | 3.287 | 2.102 |
| ≥1:64 | 278 | 0.89 | 4.38 | 2.677 |
| ≥1:128 | 288 | 0.92 | 5.546 | 3.033 |
| ≥1:256 | 304 | 0.97 | 6.204 | 3.71 |
| ≥1:512 | 309 | 0.99 | 6.339 | 1.414 |
| ≥1:1024 | 312 | 1.00 | 9.689 | 5.73 |

Note

SD: Standard deviation

Protection rate: (Total-Accumulated RP)/Total